## Overview
Company and Licence name, charging year, effective from, status
| Company and Licence name | Year | Effective From | Status
Company and Licence name, charging year, effective from, status | ESP Electricity Limited - GSP _F | 2026/27 | 1 April 2026 | Final
List of data tables in this workbook
Worksheet | Information
Annex 1 LV, HV and Unmetered Supplies charges | Annex 1 contains the charges to LV and HV Designated Properties and Unmetered Supplies.
Annex 2 Designated EHV charges | Annex 2 contains the charges to Designated EHV Properties and charges applied to LDNOs with Designated EHV Properties/end-users embedded in networks within the ESP Electricity Limited - GSP _F Licence area.
Annex 3 Preserved charges | Annex 3 contains details of any preserved and additional charges that are valid at this time.
Annex 4 LDNO charges | Annex 4 contains charges that are levied on the owner of an embedded network within the ESP Electricity Limited - GSP _F Licence area. Electricity suppliers and consumers who have properties connected to an embedded network should contact the embedded network owner to determine their distribution charges. The charges listed in this table are not payable by domestic consumers, business consumers or electricity suppliers.
Annex 5 LLFs | Annex 5 has been intentionally left blank as this charging statement is published a complete year before the LLFs have been audited. The line loss factors that are approved by the BSC Panel for the applicable year and consequently published on the Elexon website will take precedence and be used in Settlement. This annex will be re-published with these values once they are available.
Annex 6 Charges for New or Amended Designated EHV Properties | Annex 6 contains the charges for new or amended Designated EHV Properties and charges applied to LDNOs with new or amended Designated EHV Properties/end-users embedded in networks within the ESP Electricity Limited - GSP _F Licence area.
Annex 7 Fixed adders for Supplier of Last Resort and Eligible Bad Debt pass-through costs | Annex 7 contains the fixed adders to recover Supplier of Last Resort and Eligible Bad Debt pass-through costs.
Nodal prices | Contains the underlying [nodal/network group] costs used to calculate the current Designated EHV charges.
Residual Charging Bandings | Contains the four Residual charging band allocation for Customers
TNUoS Mapping | Contains the mapping between DUoS tariff names and expected TNUoS charging bands
Charge calculator | Charge calculator is a tool to help you estimate your distribution charges using current consumption data and forecast consumption data.
Notes to users of this spreadsheet
Please use this spreadsheet with reference to the LC14 use of system charging statement.
Notes to DNOs populating this spreadsheet
DNOs must endeavour to maintain consistency in the structure of this spreadsheet. Any changes to the structure must be noted in the 'Notes to users of this spreadsheet'
The drop down list on the charge calculator can be expanded by unprotecting the charge calculator sheet and selecting 'data', 'data validation...' and then expanding the 'source' data range. The sheet can then be protected.

## Annex 1 LV, HV and UMS charges
Back to Overview
ESP Electricity Limited - GSP _F - Effective from 1 April 2026 - Final LV and HV charges
Time Bands for LV and HV Designated Properties | [5 empty] | Time Bands for Unmetered Properties
Time periods | Red Time Band | Amber Time Band |  | Green Time Band |  |  |  | Black Time Band | Yellow Time Band | Green Time Band
Monday to Friday (Including Bank Holidays) All Year | 16:00 to 19:30 | 08:00 to 16:00 19:30 to 22:00 |  | 00:00 to 08:00 22:00 to 24:00 |  | Monday to Friday (Including Bank Holidays) November to February Inclusive |  | 16:00 to 19:30 | 08:00 to 16:00 19:30 to 22:00 | 00:00 to 08:00 22:00 to 24:00
Saturday and Sunday All Year | 0 | 0 |  | 00:00 to 24:00 |  | Monday to Friday (Including Bank Holidays) April to October Inclusive and March |  | 0 | 08:00 to 22:00 | 00:00 to 08:00 22:00 to 24:00
Notes | All the above times are in UK Clock time |  |  |  |  | Saturday and Sunday All year |  | 0 | 0 | 00:00 to 24:00
[6 empty] | Notes |  | All the above times are in UK Clock time
Tariff name | Open LLFCs | PCs | Red/black unit charge p/kWh | Amber/yellow unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Exceeded capacity charge p/kVA/day | Reactive power charge p/kVArh | Closed LLFCs
Domestic Aggregated or CT with Residual | 277, 250, 252 | 0, 1, 2 | 11.239 | 1.702 | 0.24 | 17.97 | 0 | 0 | 0
Domestic Aggregated (Related MPAN) |  | 2 | 11.239 | 1.702 | 0.24 | 0 | 0 | 0 | 0
Non-Domestic Aggregated or CT No Residual | F04, F12, F28 | 0, 3, 4, 5-8 | 12.823 | 1.942 | 0.273 | 14.71 | 0 | 0 | 0
Non-Domestic Aggregated or CT Band 1 | 279, 289, 313 | 0, 3, 4, 5-8 | 12.823 | 1.942 | 0.273 | 16.73 | 0 | 0 | 0
Non-Domestic Aggregated or CT Band 2 | F01, F09, F25 | 0, 3, 4, 5-8 | 12.823 | 1.942 | 0.273 | 20.21 | 0 | 0 | 0
Non-Domestic Aggregated or CT Band 3 | F02, F10, F26 | 0, 3, 4, 5-8 | 12.823 | 1.942 | 0.273 | 26.54 | 0 | 0 | 0
Non-Domestic Aggregated or CT Band 4 | F03, F11, F27 | 0, 3, 4, 5-8 | 12.823 | 1.942 | 0.273 | 46.58 | 0 | 0 | 0
Non-Domestic Aggregated (related MPAN) |  | 4 | 12.823 | 1.942 | 0.273 | 0 | 0 | 0 | 0
LV Site Specific No Residual | F08, F16, F32 | 0 | 8.522 | 1.255 | 0.179 | 15.25 | 5.48 | 5.48 | 0.163
LV Site Specific Band 1 | 297, 256, 742, F41 | 0 | 8.522 | 1.255 | 0.179 | 68.39 | 5.48 | 5.48 | 0.163
LV Site Specific Band 2 | F05, F13, F29, F42 | 0 | 8.522 | 1.255 | 0.179 | 129.89 | 5.48 | 5.48 | 0.163
LV Site Specific Band 3 | F06, F14, F30, F43 | 0 | 8.522 | 1.255 | 0.179 | 194.74 | 5.48 | 5.48 | 0.163
LV Site Specific Band 4 | F07, F15, F31, F44 | 0 | 8.522 | 1.255 | 0.179 | 482.86 | 5.48 | 5.48 | 0.163
LV Sub Site Specific No Residual | F20, F36 | 0 | 4.634 | 0.626 | 0.093 | 15.25 | 5.15 | 5.15 | 0.087
LV Sub Site Specific Band 1 | 299, 743, F45 | 0 | 4.634 | 0.626 | 0.093 | 68.39 | 5.15 | 5.15 | 0.087
LV Sub Site Specific Band 2 | F17, F33, F46 | 0 | 4.634 | 0.626 | 0.093 | 129.89 | 5.15 | 5.15 | 0.087
LV Sub Site Specific Band 3 | F18, F34, F47 | 0 | 4.634 | 0.626 | 0.093 | 194.74 | 5.15 | 5.15 | 0.087
LV Sub Site Specific Band 4 | F19, F35, F48 | 0 | 4.634 | 0.626 | 0.093 | 482.86 | 5.15 | 5.15 | 0.087
HV Site Specific No Residual | F24, F40 | 0 | 3.403 | 0.427 | 0.066 | 316.66 | 5.6 | 5.6 | 0.063
HV Site Specific Band 1 | 257, 304 | 0 | 3.403 | 0.427 | 0.066 | 681.69 | 5.6 | 5.6 | 0.063
HV Site Specific Band 2 | F21, F37 | 0 | 3.403 | 0.427 | 0.066 | 1316.4 | 5.6 | 5.6 | 0.063
HV Site Specific Band 3 | F22, F38 | 0 | 3.403 | 0.427 | 0.066 | 2103.42 | 5.6 | 5.6 | 0.063
HV Site Specific Band 4 | F23, F39 | 0 | 3.403 | 0.427 | 0.066 | 5182.22 | 5.6 | 5.6 | 0.063
Unmetered Supplies | 307 | 0, 1, 8 | 33.484 | 1.813 | 0.498 | 0 | 0 | 0 | 0
LV Generation Aggregated | 309, 258, 749 | 0 | -7.736 | -1.171 | -0.165 | 0 | 0 | 0 | 0
LV Sub Generation Aggregated | 647, 750 | 0 | -6.518 | -0.972 | -0.138 | 0 | 0 | 0 | 0
LV Generation Site Specific | 310, 259, 751 | 0 | -7.736 | -1.171 | -0.165 | 0 | 0 | 0 | 0.13
LV Generation Site Specific no RP charge |  | 0 | -7.736 | -1.171 | -0.165 | 0 | 0 | 0 | 0
LV Sub Generation Site Specific | 314, 753 | 0 | -6.518 | -0.972 | -0.138 | 0 | 0 | 0 | 0.122
LV Sub Generation Site Specific no RP charge |  | 0 | -6.518 | -0.972 | -0.138 | 0 | 0 | 0 | 0
HV Generation Site Specific | 260, 317 | 0 | -3.884 | -0.525 | -0.078 | 70.64 | 0 | 0 | 0.108
HV Generation Site Specific no RP charge |  | 0 | -3.884 | -0.525 | -0.078 | 70.64 | 0 | 0 | 0

## Annex 2 Designated EHV charges
Back to Overview |  |  |  |  | Note: The list of MPANs / MSIDs provided may be incomplete; the DNO reserves the right to apply the listed charges to any other MPANs / MSIDs associated with the site.
ESP Electricity Limited - GSP _F - Effective from 1 April 2026 - Final Designated EHV charges
Time Periods for Designated EHV Properties
Time periods |  |  | Super Red Time Band
Monday to Friday (Including Bank Holidays) November to February Inclusive |  |  | 1600 - 1930
Notes |  |  | All the above times are in UK Clock time
Import Unique Identifier | LLFC | Import MPANs/MSIDs | Export Unique Identifier | LLFC | Export MPANs/MSIDs | Name | Residual Charging Band | Import Super Red unit charge (p/kWh) | Import fixed charge (p/day) | Import capacity charge (p/kVA/day) | Import exceeded capacity charge (p/kVA/day) | Export Super Red unit charge (p/kWh) | Export fixed charge (p/day) | Export capacity charge (p/kVA/day) | Export exceeded capacity charge (p/kVA/day)

## Annex 2a Import
Note: The list of MPANs / MSIDs provided may be incomplete; the DNO reserves the right to apply the listed charges to any other MPANs / MSIDs associated with the site. Note: This table is automatically populated based on the content of the tab entitled 'Annex 2 Designated EHV Charges'. The timebands are as shown in Annex 2.
ESP Electricity Limited - GSP _F - Effective from 1 April 2026 - Final Designated EHV import charges
Import Unique Identifier | LLFC | Import MPANs/MSIDs | Name | Import Super Red unit charge (p/kWh) | Import fixed charge (p/day) | Import capacity charge (p/kVA/day) | Import exceeded capacity charge (p/kVA/day)

## Annex 2b Export
Note: The list of MPANs / MSIDs provided may be incomplete; the DNO reserves the right to apply the listed charges to any other MPANs / MSIDs associated with the site. Note: This table is automatically populated based on the content of the tab entitled 'Annex 2 Designated EHV Charges'. The timebands are as shown in Annex 2.
ESP Electricity Limited - GSP _F - Effective from 1 April 2026 - Final Designated EHV export charges
Export Unique Identifier | LLFC | Export MPANs/MSIDs | Name | Export Super Red unit charge (p/kWh) | Export fixed charge (p/day) | Export capacity charge (p/kVA/day) | Export exceeded capacity charge (p/kVA/day)

## Annex 3 Preserved charges
Back to Overview
ESP Electricity Limited - GSP _F - Effective from 1 April 2026 - Final LV and HV tariffs
NHH preserved charges/additional LLFCs
| Closed LLFCs | PCs | Unit charge 1 (NHH) p/kWh | Unit charge 2 (NHH) p/kWh | Fixed charge p/MPAN/day
Notes: | ESP Electricity Limited has no Preserved NHH Tariffs/Additional LLFCs/DUoS Tariff IDs
HH preserved charges/additional LLFCs
| Closed LLFCs | PCs | Red/black charge (HH) p/kWh | Amber/yellow charge (HH) p/kWh | Green charge (HH) p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Exceeded capacity charge p/kVA/day | Reactive power charge p/kVArh
Notes: | ESP Electricity Limited has no Preserved NHH Tariffs/Additional LLFCs/DUoS Tariff IDs

## Annex 4 LDNO charges
Back to Overview
ESP Electricity Limited - GSP _F - Effective from 1 April 2026 - Final LDNO tariffs
Time Bands for LV and HV Designated Properties |  |  |  |  | Time Bands for Unmetered Properties
Time periods | Red Time Band | Amber Time Band | Green Time Band |  |  |  | Black Time Band | Yellow Time Band | Green Time Band
Monday to Friday (Including Bank Holidays) All Year | 16:00 to 19:30 | 08:00 to 16:00 19:30 to 22:00 | 00:00 to 08:00 22:00 to 24:00 |  | Monday to Friday (Including Bank Holidays) November to February Inclusive |  | 16:00 to 19:30 | 08:00 to 16:00 19:30 to 22:00 | 00:00 to 08:00 22:00 to 24:00
Saturday and Sunday All Year | 0 | 0 | 00:00 to 24:00 |  | Monday to Friday (Including Bank Holidays) April to October Inclusive and March |  | 0 | 08:00 to 22:00 | 00:00 to 08:00 22:00 to 24:00
Notes | All the above times are in UK Clock time |  |  |  | Saturday and Sunday All year |  | 0 | 0 | 00:00 to 24:00
[5 empty] | Notes |  | All the above times are in UK Clock time
Tariff name | Unique billing identifier | PCs | Red/black unit charge p/kWh | Amber/yellow unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Exceeded capacity charge p/kVA/day | Reactive power charge p/kVArh
LDNO LV: Domestic Aggregated or CT with Residual | 277 | 0, 1, 2 | 6.631 | 1.004 | 0.141 | 10.6 | 0 | 0 | 0
LDNO LV: Domestic Aggregated (related MPAN) |  | 2 | 6.631 | 1.004 | 0.141 | 0 | 0 | 0 | 0
LDNO LV: Non-Domestic Aggregated or CT No Residual | F04 | 0, 3, 4, 5-8 | 7.565 | 1.146 | 0.161 | 8.68 | 0 | 0 | 0
LDNO LV: Non-Domestic Aggregated or CT Band 1 | 279 | 0, 3, 4, 5-8 | 7.565 | 1.146 | 0.161 | 9.87 | 0 | 0 | 0
LDNO LV: Non-Domestic Aggregated or CT Band 2 | F01 | 0, 3, 4, 5-8 | 7.565 | 1.146 | 0.161 | 11.92 | 0 | 0 | 0
LDNO LV: Non-Domestic Aggregated or CT Band 3 | F02 | 0, 3, 4, 5-8 | 7.565 | 1.146 | 0.161 | 15.66 | 0 | 0 | 0
LDNO LV: Non-Domestic Aggregated or CT Band 4 | F03 | 0, 3, 4, 5-8 | 7.565 | 1.146 | 0.161 | 27.48 | 0 | 0 | 0
LDNO LV: Non-Domestic Aggregated (related MPAN) |  | 4 | 7.565 | 1.146 | 0.161 | 0 | 0 | 0 | 0
LDNO LV: LV Site Specific No Residual | F08 | 0 | 5.028 | 0.741 | 0.106 | 8.99 | 3.23 | 3.23 | 0.096
LDNO LV: LV Site Specific Band 1 | 297 | 0 | 5.028 | 0.741 | 0.106 | 40.35 | 3.23 | 3.23 | 0.096
LDNO LV: LV Site Specific Band 2 | F05 | 0 | 5.028 | 0.741 | 0.106 | 76.64 | 3.23 | 3.23 | 0.096
LDNO LV: LV Site Specific Band 3 | F06 | 0 | 5.028 | 0.741 | 0.106 | 114.9 | 3.23 | 3.23 | 0.096
LDNO LV: LV Site Specific Band 4 | F07 | 0 | 5.028 | 0.741 | 0.106 | 284.89 | 3.23 | 3.23 | 0.096
LDNO LV: Unmetered Supplies | 307 | 0, 1, 8 | 19.755 | 1.07 | 0.294 | 0 | 0 | 0 | 0
LDNO LV: LV Generation Aggregated | 309 | 0, 8 | -7.736 | -1.171 | -0.165 | 0 | 0 | 0 | 0
LDNO LV: LV Generation Site Specific | 310 | 0 | -7.736 | -1.171 | -0.165 | 0 | 0 | 0 | 0.13
LDNO HV: Domestic Aggregated or CT with Residual | 250 | 0, 1, 2 | 4.453 | 0.674 | 0.095 | 7.12 | 0 | 0 | 0
LDNO HV: Domestic Aggregated (Related MPAN) |  | 2 | 4.453 | 0.674 | 0.095 | 0 | 0 | 0 | 0
LDNO HV: Non-Domestic Aggregated or CT No Residual | F12 | 0, 3, 4, 5-8 | 5.081 | 0.769 | 0.108 | 5.83 | 0 | 0 | 0
LDNO HV: Non-Domestic Aggregated or CT Band 1 | 289 | 0, 3, 4, 5-8 | 5.081 | 0.769 | 0.108 | 6.63 | 0 | 0 | 0
LDNO HV: Non-Domestic Aggregated or CT Band 2 | F09 | 0, 3, 4, 5-8 | 5.081 | 0.769 | 0.108 | 8.01 | 0 | 0 | 0
LDNO HV: Non-Domestic Aggregated or CT Band 3 | F10 | 0, 3, 4, 5-8 | 5.081 | 0.769 | 0.108 | 10.52 | 0 | 0 | 0
LDNO HV: Non-Domestic Aggregated or CT Band 4 | F11 | 0, 3, 4, 5-8 | 5.081 | 0.769 | 0.108 | 18.46 | 0 | 0 | 0
LDNO HV: Non-Domestic Aggregated (related MPAN) |  | 4 | 5.081 | 0.769 | 0.108 | 0 | 0 | 0 | 0
LDNO HV: LV Site Specific No Residual | F16 | 0 | 3.377 | 0.497 | 0.071 | 6.04 | 2.17 | 2.17 | 0.064
LDNO HV: LV Site Specific Band 1 | 256 | 0 | 3.377 | 0.497 | 0.071 | 27.1 | 2.17 | 2.17 | 0.064
LDNO HV: LV Site Specific Band 2 | F13 | 0 | 3.377 | 0.497 | 0.071 | 51.47 | 2.17 | 2.17 | 0.064
LDNO HV: LV Site Specific Band 3 | F14 | 0 | 3.377 | 0.497 | 0.071 | 77.16 | 2.17 | 2.17 | 0.064
LDNO HV: LV Site Specific Band 4 | F15 | 0 | 3.377 | 0.497 | 0.071 | 191.33 | 2.17 | 2.17 | 0.064
LDNO HV: LV Sub Site Specific No Residual | F20 | 0 | 3.129 | 0.423 | 0.063 | 10.3 | 3.48 | 3.48 | 0.059
LDNO HV: LV Sub Site Specific Band 1 | 299 | 0 | 3.129 | 0.423 | 0.063 | 46.19 | 3.48 | 3.48 | 0.059
LDNO HV: LV Sub Site Specific Band 2 | F17 | 0 | 3.129 | 0.423 | 0.063 | 87.72 | 3.48 | 3.48 | 0.059
LDNO HV: LV Sub Site Specific Band 3 | F18 | 0 | 3.129 | 0.423 | 0.063 | 131.51 | 3.48 | 3.48 | 0.059
LDNO HV: LV Sub Site Specific Band 4 | F19 | 0 | 3.129 | 0.423 | 0.063 | 326.08 | 3.48 | 3.48 | 0.059
LDNO HV: HV Site Specific No Residual | F24 | 0 | 2.826 | 0.355 | 0.054 | 262.95 | 4.65 | 4.65 | 0.052
LDNO HV: HV Site Specific Band 1 | 257 | 0 | 2.826 | 0.355 | 0.054 | 566.07 | 4.65 | 4.65 | 0.052
LDNO HV: HV Site Specific Band 2 | F21 | 0 | 2.826 | 0.355 | 0.054 | 1093.12 | 4.65 | 4.65 | 0.052
LDNO HV: HV Site Specific Band 3 | F22 | 0 | 2.826 | 0.355 | 0.054 | 1746.65 | 4.65 | 4.65 | 0.052
LDNO HV: HV Site Specific Band 4 | F23 | 0 | 2.826 | 0.355 | 0.054 | 4303.26 | 4.65 | 4.65 | 0.052
LDNO HV: Unmetered Supplies |  | 0, 1, 8 | 13.267 | 0.718 | 0.197 | 0 | 0 | 0 | 0
LDNO HV: LV Generation Aggregated | 258 | 0, 8 | -7.736 | -1.171 | -0.165 | 0 | 0 | 0 | 0
LDNO HV: LV Sub Generation Aggregated | 647 | 8 | -6.518 | -0.972 | -0.138 | 0 | 0 | 0 | 0
LDNO HV: LV Generation Site Specific | 259 | 0 | -7.736 | -1.171 | -0.165 | 0 | 0 | 0 | 0.13
LDNO HV: LV Sub Generation Site Specific | 314 | 0 | -6.518 | -0.972 | -0.138 | 0 | 0 | 0 | 0.122
LDNO HV: HV Generation Site Specific | 260 | 0 | -3.884 | -0.525 | -0.078 | 0 | 0 | 0 | 0.108
LDNO HVplus: Domestic Aggregated or CT with Residual |  | 0, 1, 2 | 3.089 | 0.468 | 0.066 | 4.94 | 0 | 0 | 0
LDNO HVplus: Domestic Aggregated (related MPAN) |  | 2 | 3.089 | 0.468 | 0.066 | 0 | 0 | 0 | 0
LDNO HVplus: Non-Domestic Aggregated or CT No Residual |  | 0, 3, 4, 5-8 | 3.525 | 0.534 | 0.075 | 4.04 | 0 | 0 | 0
LDNO HVplus: Non-Domestic Aggregated or CT Band 1 |  | 0, 3, 4, 5-8 | 3.525 | 0.534 | 0.075 | 4.6 | 0 | 0 | 0
LDNO HVplus: Non-Domestic Aggregated or CT Band 2 |  | 0, 3, 4, 5-8 | 3.525 | 0.534 | 0.075 | 5.56 | 0 | 0 | 0
LDNO HVplus: Non-Domestic Aggregated or CT Band 3 |  | 0, 3, 4, 5-8 | 3.525 | 0.534 | 0.075 | 7.3 | 0 | 0 | 0
LDNO HVplus: Non-Domestic Aggregated or CT Band 4 |  | 0, 3, 4, 5-8 | 3.525 | 0.534 | 0.075 | 12.8 | 0 | 0 | 0
LDNO HVplus: Non-Domestic Aggregated (related MPAN) |  | 4 | 3.525 | 0.534 | 0.075 | 0 | 0 | 0 | 0
LDNO HVplus: LV Site Specific No Residual |  | 0 | 2.343 | 0.345 | 0.049 | 4.19 | 1.51 | 1.51 | 0.045
LDNO HVplus: LV Site Specific Band 1 | F41 | 0 | 2.343 | 0.345 | 0.049 | 18.8 | 1.51 | 1.51 | 0.045
LDNO HVplus: LV Site Specific Band 2 | F42 | 0 | 2.343 | 0.345 | 0.049 | 35.71 | 1.51 | 1.51 | 0.045
LDNO HVplus: LV Site Specific Band 3 | F43 | 0 | 2.343 | 0.345 | 0.049 | 53.53 | 1.51 | 1.51 | 0.045
LDNO HVplus: LV Site Specific Band 4 | F44 | 0 | 2.343 | 0.345 | 0.049 | 132.73 | 1.51 | 1.51 | 0.045
LDNO HVplus: LV Sub Site Specific No Residual |  | 0 | 2.141 | 0.289 | 0.043 | 7.04 | 2.38 | 2.38 | 0.04
LDNO HVplus: LV Sub Site Specific Band 1 | F45 | 0 | 2.141 | 0.289 | 0.043 | 31.6 | 2.38 | 2.38 | 0.04
LDNO HVplus: LV Sub Site Specific Band 2 | F46 | 0 | 2.141 | 0.289 | 0.043 | 60.02 | 2.38 | 2.38 | 0.04
LDNO HVplus: LV Sub Site Specific Band 3 | F47 | 0 | 2.141 | 0.289 | 0.043 | 89.98 | 2.38 | 2.38 | 0.04
LDNO HVplus: LV Sub Site Specific Band 4 | F48 | 0 | 2.141 | 0.289 | 0.043 | 223.1 | 2.38 | 2.38 | 0.04
LDNO HVplus: HV Site Specific No Residual |  | 0 | 1.913 | 0.24 | 0.037 | 177.99 | 3.15 | 3.15 | 0.035
LDNO HVplus: HV Site Specific Band 1 |  | 0 | 1.913 | 0.24 | 0.037 | 383.17 | 3.15 | 3.15 | 0.035
LDNO HVplus: HV Site Specific Band 2 |  | 0 | 1.913 | 0.24 | 0.037 | 739.94 | 3.15 | 3.15 | 0.035
LDNO HVplus: HV Site Specific Band 3 |  | 0 | 1.913 | 0.24 | 0.037 | 1182.32 | 3.15 | 3.15 | 0.035
LDNO HVplus: HV Site Specific Band 4 |  | 0 | 1.913 | 0.24 | 0.037 | 2912.89 | 3.15 | 3.15 | 0.035
LDNO HVplus: Unmetered Supplies |  | 0, 1, 8 | 9.204 | 0.498 | 0.137 | 0 | 0 | 0 | 0
LDNO HVplus: LV Generation Aggregated |  | 0, 8 | -3.574 | -0.541 | -0.076 | 0 | 0 | 0 | 0
LDNO HVplus: LV Sub Generation Aggregated |  | 8 | -3.664 | -0.546 | -0.077 | 0 | 0 | 0 | 0
LDNO HVplus: LV Generation Site Specific |  | 0 | -3.574 | -0.541 | -0.076 | 0 | 0 | 0 | 0.06
LDNO HVplus: LV Sub Generation Site Specific |  | 0 | -3.664 | -0.546 | -0.077 | 0 | 0 | 0 | 0.069
LDNO HVplus: HV Generation Site Specific |  | 0 | -3.884 | -0.525 | -0.078 | 70.64 | 0 | 0 | 0.108
LDNO EHV: Domestic Aggregated or CT with Residual | 252 | 0, 1, 2 | 2.148 | 0.325 | 0.046 | 3.43 | 0 | 0 | 0
LDNO EHV: Domestic Aggregated (related MPAN) |  | 2 | 2.148 | 0.325 | 0.046 | 0 | 0 | 0 | 0
LDNO EHV: Non-Domestic Aggregated or CT No Residual | F28 | 0, 3, 4, 5-8 | 2.451 | 0.371 | 0.052 | 2.81 | 0 | 0 | 0
LDNO EHV: Non-Domestic Aggregated or CT Band 1 | 313 | 0, 3, 4, 5-8 | 2.451 | 0.371 | 0.052 | 3.2 | 0 | 0 | 0
LDNO EHV: Non-Domestic Aggregated or CT Band 2 | F25 | 0, 3, 4, 5-8 | 2.451 | 0.371 | 0.052 | 3.86 | 0 | 0 | 0
LDNO EHV: Non-Domestic Aggregated or CT Band 3 | F26 | 0, 3, 4, 5-8 | 2.451 | 0.371 | 0.052 | 5.07 | 0 | 0 | 0
LDNO EHV: Non-Domestic Aggregated or CT Band 4 | F27 | 0, 3, 4, 5-8 | 2.451 | 0.371 | 0.052 | 8.9 | 0 | 0 | 0
LDNO EHV: Non-Domestic Aggregated (related MPAN) |  | 4 | 2.451 | 0.371 | 0.052 | 0 | 0 | 0 | 0
LDNO EHV: LV Site Specific No Residual | F32 | 0 | 1.629 | 0.24 | 0.034 | 2.91 | 1.05 | 1.05 | 0.031
LDNO EHV: LV Site Specific Band 1 | 742 | 0 | 1.629 | 0.24 | 0.034 | 13.07 | 1.05 | 1.05 | 0.031
LDNO EHV: LV Site Specific Band 2 | F29 | 0 | 1.629 | 0.24 | 0.034 | 24.83 | 1.05 | 1.05 | 0.031
LDNO EHV: LV Site Specific Band 3 | F30 | 0 | 1.629 | 0.24 | 0.034 | 37.22 | 1.05 | 1.05 | 0.031
LDNO EHV: LV Site Specific Band 4 | F31 | 0 | 1.629 | 0.24 | 0.034 | 92.28 | 1.05 | 1.05 | 0.031
LDNO EHV: LV Sub Site Specific No Residual | F36 | 0 | 1.489 | 0.201 | 0.03 | 4.9 | 1.65 | 1.65 | 0.028
LDNO EHV: LV Sub Site Specific Band 1 | 743 | 0 | 1.489 | 0.201 | 0.03 | 21.97 | 1.65 | 1.65 | 0.028
LDNO EHV: LV Sub Site Specific Band 2 | F33 | 0 | 1.489 | 0.201 | 0.03 | 41.73 | 1.65 | 1.65 | 0.028
LDNO EHV: LV Sub Site Specific Band 3 | F34 | 0 | 1.489 | 0.201 | 0.03 | 62.56 | 1.65 | 1.65 | 0.028
LDNO EHV: LV Sub Site Specific Band 4 | F35 | 0 | 1.489 | 0.201 | 0.03 | 155.12 | 1.65 | 1.65 | 0.028
LDNO EHV: HV Site Specific No Residual | F40 | 0 | 1.33 | 0.167 | 0.026 | 123.75 | 2.19 | 2.19 | 0.025
LDNO EHV: HV Site Specific Band 1 | 304 | 0 | 1.33 | 0.167 | 0.026 | 266.41 | 2.19 | 2.19 | 0.025
LDNO EHV: HV Site Specific Band 2 | F37 | 0 | 1.33 | 0.167 | 0.026 | 514.47 | 2.19 | 2.19 | 0.025
LDNO EHV: HV Site Specific Band 3 | F38 | 0 | 1.33 | 0.167 | 0.026 | 822.04 | 2.19 | 2.19 | 0.025
LDNO EHV: HV Site Specific Band 4 | F39 | 0 | 1.33 | 0.167 | 0.026 | 2025.28 | 2.19 | 2.19 | 0.025
LDNO EHV: Unmetered Supplies |  | 0, 1, 8 | 6.399 | 0.347 | 0.095 | 0 | 0 | 0 | 0
LDNO EHV: LV Generation Aggregated | 749 | 0, 8 | -2.485 | -0.376 | -0.053 | 0 | 0 | 0 | 0
LDNO EHV: LV Sub Generation Aggregated | 750 | 8 | -2.547 | -0.38 | -0.054 | 0 | 0 | 0 | 0
LDNO EHV: LV Generation Site Specific | 751 | 0 | -2.485 | -0.376 | -0.053 | 0 | 0 | 0 | 0.042
LDNO EHV: LV Sub Generation Site Specific | 753 | 0 | -2.547 | -0.38 | -0.054 | 0 | 0 | 0 | 0.048
LDNO EHV: HV Generation Site Specific | 317 | 0 | -2.701 | -0.365 | -0.054 | 49.12 | 0 | 0 | 0.075
LDNO 132kV/EHV: Domestic Aggregated or CT with Residual |  | 0, 1, 2 | 1.423 | 0.216 | 0.03 | 2.28 | 0 | 0 | 0
LDNO 132kV/EHV: Domestic Aggregated (related MPAN) |  | 2 | 1.423 | 0.216 | 0.03 | 0 | 0 | 0 | 0
LDNO 132kV/EHV: Non-Domestic Aggregated or CT No Residual |  | 0, 3, 4, 5-8 | 1.624 | 0.246 | 0.035 | 1.86 | 0 | 0 | 0
LDNO 132kV/EHV: Non-Domestic Aggregated or CT Band 1 |  | 0, 3, 4, 5-8 | 1.624 | 0.246 | 0.035 | 2.12 | 0 | 0 | 0
LDNO 132kV/EHV: Non-Domestic Aggregated or CT Band 2 |  | 0, 3, 4, 5-8 | 1.624 | 0.246 | 0.035 | 2.56 | 0 | 0 | 0
LDNO 132kV/EHV: Non-Domestic Aggregated or CT Band 3 |  | 0, 3, 4, 5-8 | 1.624 | 0.246 | 0.035 | 3.36 | 0 | 0 | 0
LDNO 132kV/EHV: Non-Domestic Aggregated or CT Band 4 |  | 0, 3, 4, 5-8 | 1.624 | 0.246 | 0.035 | 5.9 | 0 | 0 | 0
LDNO 132kV/EHV: Non-Domestic Aggregated (related MPAN) |  | 4 | 1.624 | 0.246 | 0.035 | 0 | 0 | 0 | 0
LDNO 132kV/EHV: LV Site Specific No Residual |  | 0 | 1.079 | 0.159 | 0.023 | 1.93 | 0.69 | 0.69 | 0.021
LDNO 132kV/EHV: LV Site Specific Band 1 |  | 0 | 1.079 | 0.159 | 0.023 | 8.66 | 0.69 | 0.69 | 0.021
LDNO 132kV/EHV: LV Site Specific Band 2 |  | 0 | 1.079 | 0.159 | 0.023 | 16.45 | 0.69 | 0.69 | 0.021
LDNO 132kV/EHV: LV Site Specific Band 3 |  | 0 | 1.079 | 0.159 | 0.023 | 24.66 | 0.69 | 0.69 | 0.021
LDNO 132kV/EHV: LV Site Specific Band 4 |  | 0 | 1.079 | 0.159 | 0.023 | 61.15 | 0.69 | 0.69 | 0.021
LDNO 132kV/EHV: LV Sub Site Specific No Residual |  | 0 | 0.986 | 0.133 | 0.02 | 3.25 | 1.1 | 1.1 | 0.019
LDNO 132kV/EHV: LV Sub Site Specific Band 1 |  | 0 | 0.986 | 0.133 | 0.02 | 14.56 | 1.1 | 1.1 | 0.019
LDNO 132kV/EHV: LV Sub Site Specific Band 2 |  | 0 | 0.986 | 0.133 | 0.02 | 27.65 | 1.1 | 1.1 | 0.019
LDNO 132kV/EHV: LV Sub Site Specific Band 3 |  | 0 | 0.986 | 0.133 | 0.02 | 41.45 | 1.1 | 1.1 | 0.019
LDNO 132kV/EHV: LV Sub Site Specific Band 4 |  | 0 | 0.986 | 0.133 | 0.02 | 102.78 | 1.1 | 1.1 | 0.019
LDNO 132kV/EHV: HV Site Specific No Residual |  | 0 | 0.881 | 0.111 | 0.017 | 82 | 1.45 | 1.45 | 0.016
LDNO 132kV/EHV: HV Site Specific Band 1 |  | 0 | 0.881 | 0.111 | 0.017 | 176.52 | 1.45 | 1.45 | 0.016
LDNO 132kV/EHV: HV Site Specific Band 2 |  | 0 | 0.881 | 0.111 | 0.017 | 340.87 | 1.45 | 1.45 | 0.016
LDNO 132kV/EHV: HV Site Specific Band 3 |  | 0 | 0.881 | 0.111 | 0.017 | 544.66 | 1.45 | 1.45 | 0.016
LDNO 132kV/EHV: HV Site Specific Band 4 |  | 0 | 0.881 | 0.111 | 0.017 | 1341.89 | 1.45 | 1.45 | 0.016
LDNO 132kV/EHV: Unmetered Supplies |  | 0, 1, 8 | 4.24 | 0.23 | 0.063 | 0 | 0 | 0 | 0
LDNO 132kV/EHV: LV Generation Aggregated |  | 0, 8 | -1.647 | -0.249 | -0.035 | 0 | 0 | 0 | 0
LDNO 132kV/EHV: LV Sub Generation Aggregated |  | 8 | -1.688 | -0.252 | -0.036 | 0 | 0 | 0 | 0
LDNO 132kV/EHV: LV Generation Site Specific |  | 0 | -1.647 | -0.249 | -0.035 | 0 | 0 | 0 | 0.028
LDNO 132kV/EHV: LV Sub Generation Site Specific |  | 0 | -1.688 | -0.252 | -0.036 | 0 | 0 | 0 | 0.032
LDNO 132kV/EHV: HV Generation Site Specific |  | 0 | -1.789 | -0.242 | -0.036 | 32.54 | 0 | 0 | 0.05
LDNO 132kV: Domestic Aggregated or CT with Residual |  | 0, 1, 2 | 0.724 | 0.11 | 0.015 | 1.16 | 0 | 0 | 0
LDNO 132kV: Domestic Aggregated (related MPAN) |  | 2 | 0.724 | 0.11 | 0.015 | 0 | 0 | 0 | 0
LDNO 132kV: Non-Domestic Aggregated or CT No Residual |  | 0, 3, 4, 5-8 | 0.825 | 0.125 | 0.018 | 0.95 | 0 | 0 | 0
LDNO 132kV: Non-Domestic Aggregated or CT Band 1 |  | 0, 3, 4, 5-8 | 0.825 | 0.125 | 0.018 | 1.08 | 0 | 0 | 0
LDNO 132kV: Non-Domestic Aggregated or CT Band 2 |  | 0, 3, 4, 5-8 | 0.825 | 0.125 | 0.018 | 1.3 | 0 | 0 | 0
LDNO 132kV: Non-Domestic Aggregated or CT Band 3 |  | 0, 3, 4, 5-8 | 0.825 | 0.125 | 0.018 | 1.71 | 0 | 0 | 0
LDNO 132kV: Non-Domestic Aggregated or CT Band 4 |  | 0, 3, 4, 5-8 | 0.825 | 0.125 | 0.018 | 3 | 0 | 0 | 0
LDNO 132kV: Non-Domestic Aggregated (related MPAN) |  | 4 | 0.825 | 0.125 | 0.018 | 0 | 0 | 0 | 0
LDNO 132kV: LV Site Specific No Residual |  | 0 | 0.549 | 0.081 | 0.012 | 0.98 | 0.35 | 0.35 | 0.01
LDNO 132kV: LV Site Specific Band 1 |  | 0 | 0.549 | 0.081 | 0.012 | 4.4 | 0.35 | 0.35 | 0.01
LDNO 132kV: LV Site Specific Band 2 |  | 0 | 0.549 | 0.081 | 0.012 | 8.36 | 0.35 | 0.35 | 0.01
LDNO 132kV: LV Site Specific Band 3 |  | 0 | 0.549 | 0.081 | 0.012 | 12.54 | 0.35 | 0.35 | 0.01
LDNO 132kV: LV Site Specific Band 4 |  | 0 | 0.549 | 0.081 | 0.012 | 31.09 | 0.35 | 0.35 | 0.01
LDNO 132kV: LV Sub Site Specific No Residual |  | 0 | 0.501 | 0.068 | 0.01 | 1.65 | 0.56 | 0.56 | 0.009
LDNO 132kV: LV Sub Site Specific Band 1 |  | 0 | 0.501 | 0.068 | 0.01 | 7.4 | 0.56 | 0.56 | 0.009
LDNO 132kV: LV Sub Site Specific Band 2 |  | 0 | 0.501 | 0.068 | 0.01 | 14.06 | 0.56 | 0.56 | 0.009
LDNO 132kV: LV Sub Site Specific Band 3 |  | 0 | 0.501 | 0.068 | 0.01 | 21.07 | 0.56 | 0.56 | 0.009
LDNO 132kV: LV Sub Site Specific Band 4 |  | 0 | 0.501 | 0.068 | 0.01 | 52.25 | 0.56 | 0.56 | 0.009
LDNO 132kV: HV Site Specific No Residual |  | 0 | 0.448 | 0.056 | 0.009 | 41.69 | 0.74 | 0.74 | 0.008
LDNO 132kV: HV Site Specific Band 1 |  | 0 | 0.448 | 0.056 | 0.009 | 89.74 | 0.74 | 0.74 | 0.008
LDNO 132kV: HV Site Specific Band 2 |  | 0 | 0.448 | 0.056 | 0.009 | 173.29 | 0.74 | 0.74 | 0.008
LDNO 132kV: HV Site Specific Band 3 |  | 0 | 0.448 | 0.056 | 0.009 | 276.9 | 0.74 | 0.74 | 0.008
LDNO 132kV: HV Site Specific Band 4 |  | 0 | 0.448 | 0.056 | 0.009 | 682.2 | 0.74 | 0.74 | 0.008
LDNO 132kV: Unmetered Supplies |  | 0, 1, 8 | 2.156 | 0.117 | 0.032 | 0 | 0 | 0 | 0
LDNO 132kV: LV Generation Aggregated |  | 0, 8 | -0.837 | -0.127 | -0.018 | 0 | 0 | 0 | 0
LDNO 132kV: LV Sub Generation Aggregated |  | 8 | -0.858 | -0.128 | -0.018 | 0 | 0 | 0 | 0
LDNO 132kV: LV Generation Site Specific |  | 0 | -0.837 | -0.127 | -0.018 | 0 | 0 | 0 | 0.014
LDNO 132kV: LV Sub Generation Site Specific |  | 0 | -0.858 | -0.128 | -0.018 | 0 | 0 | 0 | 0.016
LDNO 132kV: HV Generation Site Specific |  | 0 | -0.91 | -0.123 | -0.018 | 16.54 | 0 | 0 | 0.025
LDNO 0000: Domestic Aggregated or CT with Residual |  | 0, 1, 2 | 0.228 | 0.034 | 0.005 | 0.36 | 0 | 0 | 0
LDNO 0000: Domestic Aggregated (related MPAN) |  | 2 | 0.228 | 0.034 | 0.005 | 0 | 0 | 0 | 0
LDNO 0000: Non-Domestic Aggregated or CT No Residual |  | 0, 3, 4, 5-8 | 0.26 | 0.039 | 0.006 | 0.3 | 0 | 0 | 0
LDNO 0000: Non-Domestic Aggregated or CT Band 1 |  | 0, 3, 4, 5-8 | 0.26 | 0.039 | 0.006 | 0.34 | 0 | 0 | 0
LDNO 0000: Non-Domestic Aggregated or CT Band 2 |  | 0, 3, 4, 5-8 | 0.26 | 0.039 | 0.006 | 0.41 | 0 | 0 | 0
LDNO 0000: Non-Domestic Aggregated or CT Band 3 |  | 0, 3, 4, 5-8 | 0.26 | 0.039 | 0.006 | 0.54 | 0 | 0 | 0
LDNO 0000: Non-Domestic Aggregated or CT Band 4 |  | 0, 3, 4, 5-8 | 0.26 | 0.039 | 0.006 | 0.94 | 0 | 0 | 0
LDNO 0000: Non-Domestic Aggregated (related MPAN) |  | 4 | 0.26 | 0.039 | 0.006 | 0 | 0 | 0 | 0
LDNO 0000: LV Site Specific No Residual |  | 0 | 0.173 | 0.025 | 0.004 | 0.31 | 0.11 | 0.11 | 0.003
LDNO 0000: LV Site Specific Band 1 |  | 0 | 0.173 | 0.025 | 0.004 | 1.39 | 0.11 | 0.11 | 0.003
LDNO 0000: LV Site Specific Band 2 |  | 0 | 0.173 | 0.025 | 0.004 | 2.63 | 0.11 | 0.11 | 0.003
LDNO 0000: LV Site Specific Band 3 |  | 0 | 0.173 | 0.025 | 0.004 | 3.94 | 0.11 | 0.11 | 0.003
LDNO 0000: LV Site Specific Band 4 |  | 0 | 0.173 | 0.025 | 0.004 | 9.78 | 0.11 | 0.11 | 0.003
LDNO 0000: LV Sub Site Specific No Residual |  | 0 | 0.158 | 0.021 | 0.003 | 0.52 | 0.18 | 0.18 | 0.003
LDNO 0000: LV Sub Site Specific Band 1 |  | 0 | 0.158 | 0.021 | 0.003 | 2.33 | 0.18 | 0.18 | 0.003
LDNO 0000: LV Sub Site Specific Band 2 |  | 0 | 0.158 | 0.021 | 0.003 | 4.42 | 0.18 | 0.18 | 0.003
LDNO 0000: LV Sub Site Specific Band 3 |  | 0 | 0.158 | 0.021 | 0.003 | 6.63 | 0.18 | 0.18 | 0.003
LDNO 0000: LV Sub Site Specific Band 4 |  | 0 | 0.158 | 0.021 | 0.003 | 16.44 | 0.18 | 0.18 | 0.003
LDNO 0000: HV Site Specific No Residual |  | 0 | 0.141 | 0.018 | 0.003 | 13.12 | 0.23 | 0.23 | 0.003
LDNO 0000: HV Site Specific Band 1 |  | 0 | 0.141 | 0.018 | 0.003 | 28.24 | 0.23 | 0.23 | 0.003
LDNO 0000: HV Site Specific Band 2 |  | 0 | 0.141 | 0.018 | 0.003 | 54.53 | 0.23 | 0.23 | 0.003
LDNO 0000: HV Site Specific Band 3 |  | 0 | 0.141 | 0.018 | 0.003 | 87.12 | 0.23 | 0.23 | 0.003
LDNO 0000: HV Site Specific Band 4 |  | 0 | 0.141 | 0.018 | 0.003 | 214.65 | 0.23 | 0.23 | 0.003
LDNO 0000: Unmetered Supplies |  | 0, 1, 8 | 0.678 | 0.037 | 0.01 | 0 | 0 | 0 | 0
LDNO 0000: LV Generation Aggregated |  | 0, 8 | -0.263 | -0.04 | -0.006 | 0 | 0 | 0 | 0
LDNO 0000: LV Sub Generation Aggregated |  | 8 | -0.27 | -0.04 | -0.006 | 0 | 0 | 0 | 0
LDNO 0000: LV Generation Site Specific |  | 0 | -0.263 | -0.04 | -0.006 | 0 | 0 | 0 | 0.004
LDNO 0000: LV Sub Generation Site Specific |  | 0 | -0.27 | -0.04 | -0.006 | 0 | 0 | 0 | 0.005
LDNO 0000: HV Generation Site Specific |  | 0 | -0.286 | -0.039 | -0.006 | 5.21 | 0 | 0 | 0.008

## Annex 5 LLFs
Back to Overview
This table has intentionally been left blank. The line loss factors that are approved by the BSC Panel for the applicable year and consequently published on the Elexon website will take precedence and be used in Settlement. This annex will be re-published once these values are available.
ESP Electricity Limited - GSP _F - Illustrative LLFs for year beginning 1 April 2026
Time periods | Period 1 | Period 2 | Period 3 | Period 4
Low Voltage Network |  |  |  | 250, 252, 256, 258, 259, 277, 279, 289, 297, 307, 309, 310, 313, 742, 749, 751, F01, F02, F03, F04, F05, F06, F07, F08, F09, F10, F11, F12, F13, F14, F15, F16, F25, F26, F27, F28, F29, F30, F31, F32, F41, F42, F43, F44
Low Voltage Substation |  |  |  | 299, 314, 647, 743, 750, 753, F17, F18, F19, F20, F33, F34, F35, F36, F45, F46, F47, F48
High Voltage Network |  |  |  | 257, 260, 304, 317, F21, F22, F23, F24, F37, F38, F39, F40
High Voltage Substation
132kV connected
Notes
Generic demand and generation LLFs
Metered voltage, respective periods and associated LLFCs
Metered voltage | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
EHV site specific LLFs
Demand
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
EHV site specific LLFs
Generation
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Page left intentionally blank - see 4.9

## Annex 6 New or Amended EHV
Back to Overview |  | Note: The list of MPANs/MSIDs provided may be incomplete; the DNO reserves the right to apply the listed charges to any other MPANs/MSIDs associated with the site. If sites appear in both Annex 2 and Annex 6, the charges in Annex 6 take precedence. Where an existing Designated EHV Property is modified and energised in the charging year, we may revise the EDCM charges for the modified Designated EHV Property.
Annex 6 - Charges for New or Amended Designated EHV Properties
ESP Electricity Limited - GSP _F - Effective from 1 April 2026 - Final new Designated EHV charges
Effective from date | Import Unique Identifier | LLFC | Import MPANs/MSIDs | Export Unique Identifier | LLFC | Export MPANs/MSIDs | Name | Import Super Red unit charge (p/kWh) | Import fixed charge (p/day) | Import capacity charge (p/kVA/day) | Import exceeded capacity charge (p/kVA/day) | Export Super Red unit charge (p/kWh) | Export fixed charge (p/day) | Export capacity charge (p/kVA/day) | Export exceeded capacity charge (p/kVA/day)
ESP Electricity Limited - GSP _F - Effective from 1 April 2026 - Final new Designated EHV line loss factors
Effective from date | Import Unique Identifier | LLFC | Import MPANs/MSIDs | Export Unique Identifier | LLFC | Export MPANs/MSIDs | Name | Import LLF period 1 | Import LLF period 2 | Import LLF period 3 | Import LLF period 4 | Import LLF period 5 | Export LLF period 1 | Export LLF period 2 | Export LLF period 3 | Export LLF period 4 | Export LLF period 5
New or Amended Charges for Designated EHV Properties can be found in the relevant 'Addendum' spreadsheet published on our website, as updated from time to time.

## Annex 7 Pass-Through Costs
Back to Overview
ESP Electricity Limited - GSP _F - Effective from 1 April 2026 - Final Supplier of Last Resort and Eligible Bad Debt Pass-Through Costs
Tariff name | Open LLFCs / LDNO unique billing identifier | PCs | Supplier of Last Resort Fixed charge adder* p/MPAN/day | Eligible Bad Debt Fixed charge adder** p/MPAN/day
Domestic Aggregated or CT with Residual | 277, 250, 252 | 0, 1, 2 | 0 | 0
Non-Domestic Aggregated or CT No Residual | F04, F12, F28 | 0, 3, 4, 5-8 | 0 | 0
Non-Domestic Aggregated or CT Band 1 | 279, 289, 313 | 0, 3, 4, 5-8 | 0 | 0
Non-Domestic Aggregated or CT Band 2 | F01, F09, F25 | 0, 3, 4, 5-8 | 0 | 0
Non-Domestic Aggregated or CT Band 3 | F02, F10, F26 | 0, 3, 4, 5-8 | 0 | 0
Non-Domestic Aggregated or CT Band 4 | F03, F11, F27 | 0, 3, 4, 5-8 | 0 | 0
LV Site Specific No Residual | F08, F16, F32 | 0 | 0 | 0
LV Site Specific Band 1 | 297, 256, 742, F41 | 0 | 0 | 0
LV Site Specific Band 2 | F05, F13, F29, F42 | 0 | 0 | 0
LV Site Specific Band 3 | F06, F14, F30, F43 | 0 | 0 | 0
LV Site Specific Band 4 | F07, F15, F31, F44 | 0 | 0 | 0
LV Sub Site Specific No Residual | F20, F36 | 0 | 0 | 0
LV Sub Site Specific Band 1 | 299, 743, F45 | 0 | 0 | 0
LV Sub Site Specific Band 2 | F17, F33, F46 | 0 | 0 | 0
LV Sub Site Specific Band 3 | F18, F34, F47 | 0 | 0 | 0
LV Sub Site Specific Band 4 | F19, F35, F48 | 0 | 0 | 0
HV Site Specific No Residual | F24, F40 | 0 | 0 | 0
HV Site Specific Band 1 | 257, 304 | 0 | 0 | 0
HV Site Specific Band 2 | F21, F37 | 0 | 0 | 0
HV Site Specific Band 3 | F22, F38 | 0 | 0 | 0
HV Site Specific Band 4 | F23, F39 | 0 | 0 | 0
LDNO LV: Domestic Aggregated or CT with Residual | 277 | 0, 1, 2 | 0 | 0
LDNO LV: Non-Domestic Aggregated or CT No Residual | F04 | 0, 3, 4, 5-8 | 0 | 0
LDNO LV: Non-Domestic Aggregated or CT Band 1 | 279 | 0, 3, 4, 5-8 | 0 | 0
LDNO LV: Non-Domestic Aggregated or CT Band 2 | F01 | 0, 3, 4, 5-8 | 0 | 0
LDNO LV: Non-Domestic Aggregated or CT Band 3 | F02 | 0, 3, 4, 5-8 | 0 | 0
LDNO LV: Non-Domestic Aggregated or CT Band 4 | F03 | 0, 3, 4, 5-8 | 0 | 0
LDNO LV: LV Site Specific No Residual | F08 | 0 | 0 | 0
LDNO LV: LV Site Specific Band 1 | 297 | 0 | 0 | 0
LDNO LV: LV Site Specific Band 2 | F05 | 0 | 0 | 0
LDNO LV: LV Site Specific Band 3 | F06 | 0 | 0 | 0
LDNO LV: LV Site Specific Band 4 | F07 | 0 | 0 | 0
LDNO HV: Domestic Aggregated or CT with Residual | 250 | 0, 1, 2 | 0 | 0
LDNO HV: Non-Domestic Aggregated or CT No Residual | F12 | 0, 3, 4, 5-8 | 0 | 0
LDNO HV: Non-Domestic Aggregated or CT Band 1 | 289 | 0, 3, 4, 5-8 | 0 | 0
LDNO HV: Non-Domestic Aggregated or CT Band 2 | F09 | 0, 3, 4, 5-8 | 0 | 0
LDNO HV: Non-Domestic Aggregated or CT Band 3 | F10 | 0, 3, 4, 5-8 | 0 | 0
LDNO HV: Non-Domestic Aggregated or CT Band 4 | F11 | 0, 3, 4, 5-8 | 0 | 0
LDNO HV: LV Site Specific No Residual | F16 | 0 | 0 | 0
LDNO HV: LV Site Specific Band 1 | 256 | 0 | 0 | 0
LDNO HV: LV Site Specific Band 2 | F13 | 0 | 0 | 0
LDNO HV: LV Site Specific Band 3 | F14 | 0 | 0 | 0
LDNO HV: LV Site Specific Band 4 | F15 | 0 | 0 | 0
LDNO HV: LV Sub Site Specific No Residual | F20 | 0 | 0 | 0
LDNO HV: LV Sub Site Specific Band 1 | 299 | 0 | 0 | 0
LDNO HV: LV Sub Site Specific Band 2 | F17 | 0 | 0 | 0
LDNO HV: LV Sub Site Specific Band 3 | F18 | 0 | 0 | 0
LDNO HV: LV Sub Site Specific Band 4 | F19 | 0 | 0 | 0
LDNO HV: HV Site Specific No Residual | F24 | 0 | 0 | 0
LDNO HV: HV Site Specific Band 1 | 257 | 0 | 0 | 0
LDNO HV: HV Site Specific Band 2 | F21 | 0 | 0 | 0
LDNO HV: HV Site Specific Band 3 | F22 | 0 | 0 | 0
LDNO HV: HV Site Specific Band 4 | F23 | 0 | 0 | 0
LDNO HVplus: Domestic Aggregated or CT with Residual |  | 0, 1, 2 | 0 | 0
LDNO HVplus: Non-Domestic Aggregated or CT No Residual |  | 0, 3, 4, 5-8 | 0 | 0
LDNO HVplus: Non-Domestic Aggregated or CT Band 1 |  | 0, 3, 4, 5-8 | 0 | 0
LDNO HVplus: Non-Domestic Aggregated or CT Band 2 |  | 0, 3, 4, 5-8 | 0 | 0
LDNO HVplus: Non-Domestic Aggregated or CT Band 3 |  | 0, 3, 4, 5-8 | 0 | 0
LDNO HVplus: Non-Domestic Aggregated or CT Band 4 |  | 0, 3, 4, 5-8 | 0 | 0
LDNO HVplus: LV Site Specific No Residual |  | 0 | 0 | 0
LDNO HVplus: LV Site Specific Band 1 | F41 | 0 | 0 | 0
LDNO HVplus: LV Site Specific Band 2 | F42 | 0 | 0 | 0
LDNO HVplus: LV Site Specific Band 3 | F43 | 0 | 0 | 0
LDNO HVplus: LV Site Specific Band 4 | F44 | 0 | 0 | 0
LDNO HVplus: LV Sub Site Specific No Residual |  | 0 | 0 | 0
LDNO HVplus: LV Sub Site Specific Band 1 | F45 | 0 | 0 | 0
LDNO HVplus: LV Sub Site Specific Band 2 | F46 | 0 | 0 | 0
LDNO HVplus: LV Sub Site Specific Band 3 | F47 | 0 | 0 | 0
LDNO HVplus: LV Sub Site Specific Band 4 | F48 | 0 | 0 | 0
LDNO HVplus: HV Site Specific No Residual |  | 0 | 0 | 0
LDNO HVplus: HV Site Specific Band 1 |  | 0 | 0 | 0
LDNO HVplus: HV Site Specific Band 2 |  | 0 | 0 | 0
LDNO HVplus: HV Site Specific Band 3 |  | 0 | 0 | 0
LDNO HVplus: HV Site Specific Band 4 |  | 0 | 0 | 0
LDNO EHV: Domestic Aggregated or CT with Residual | 252 | 0, 1, 2 | 0 | 0
LDNO EHV: Non-Domestic Aggregated or CT No Residual | F28 | 0, 3, 4, 5-8 | 0 | 0
LDNO EHV: Non-Domestic Aggregated or CT Band 1 | 313 | 0, 3, 4, 5-8 | 0 | 0
LDNO EHV: Non-Domestic Aggregated or CT Band 2 | F25 | 0, 3, 4, 5-8 | 0 | 0
LDNO EHV: Non-Domestic Aggregated or CT Band 3 | F26 | 0, 3, 4, 5-8 | 0 | 0
LDNO EHV: Non-Domestic Aggregated or CT Band 4 | F27 | 0, 3, 4, 5-8 | 0 | 0
LDNO EHV: LV Site Specific No Residual | F32 | 0 | 0 | 0
LDNO EHV: LV Site Specific Band 1 | 742 | 0 | 0 | 0
LDNO EHV: LV Site Specific Band 2 | F29 | 0 | 0 | 0
LDNO EHV: LV Site Specific Band 3 | F30 | 0 | 0 | 0
LDNO EHV: LV Site Specific Band 4 | F31 | 0 | 0 | 0
LDNO EHV: LV Sub Site Specific No Residual | F36 | 0 | 0 | 0
LDNO EHV: LV Sub Site Specific Band 1 | 743 | 0 | 0 | 0
LDNO EHV: LV Sub Site Specific Band 2 | F33 | 0 | 0 | 0
LDNO EHV: LV Sub Site Specific Band 3 | F34 | 0 | 0 | 0
LDNO EHV: LV Sub Site Specific Band 4 | F35 | 0 | 0 | 0
LDNO EHV: HV Site Specific No Residual | F40 | 0 | 0 | 0
LDNO EHV: HV Site Specific Band 1 | 304 | 0 | 0 | 0
LDNO EHV: HV Site Specific Band 2 | F37 | 0 | 0 | 0
LDNO EHV: HV Site Specific Band 3 | F38 | 0 | 0 | 0
LDNO EHV: HV Site Specific Band 4 | F39 | 0 | 0 | 0
LDNO 132kV/EHV: Domestic Aggregated or CT with Residual |  | 0, 1, 2 | 0 | 0
LDNO 132kV/EHV: Non-Domestic Aggregated or CT No Residual |  | 0, 3, 4, 5-8 | 0 | 0
LDNO 132kV/EHV: Non-Domestic Aggregated or CT Band 1 |  | 0, 3, 4, 5-8 | 0 | 0
LDNO 132kV/EHV: Non-Domestic Aggregated or CT Band 2 |  | 0, 3, 4, 5-8 | 0 | 0
LDNO 132kV/EHV: Non-Domestic Aggregated or CT Band 3 |  | 0, 3, 4, 5-8 | 0 | 0
LDNO 132kV/EHV: Non-Domestic Aggregated or CT Band 4 |  | 0, 3, 4, 5-8 | 0 | 0
LDNO 132kV/EHV: LV Site Specific No Residual |  | 0 | 0 | 0
LDNO 132kV/EHV: LV Site Specific Band 1 |  | 0 | 0 | 0
LDNO 132kV/EHV: LV Site Specific Band 2 |  | 0 | 0 | 0
LDNO 132kV/EHV: LV Site Specific Band 3 |  | 0 | 0 | 0
LDNO 132kV/EHV: LV Site Specific Band 4 |  | 0 | 0 | 0
LDNO 132kV/EHV: LV Sub Site Specific No Residual |  | 0 | 0 | 0
LDNO 132kV/EHV: LV Sub Site Specific Band 1 |  | 0 | 0 | 0
LDNO 132kV/EHV: LV Sub Site Specific Band 2 |  | 0 | 0 | 0
LDNO 132kV/EHV: LV Sub Site Specific Band 3 |  | 0 | 0 | 0
LDNO 132kV/EHV: LV Sub Site Specific Band 4 |  | 0 | 0 | 0
LDNO 132kV/EHV: HV Site Specific No Residual |  | 0 | 0 | 0
LDNO 132kV/EHV: HV Site Specific Band 1 |  | 0 | 0 | 0
LDNO 132kV/EHV: HV Site Specific Band 2 |  | 0 | 0 | 0
LDNO 132kV/EHV: HV Site Specific Band 3 |  | 0 | 0 | 0
LDNO 132kV/EHV: HV Site Specific Band 4 |  | 0 | 0 | 0
LDNO 132kV: Domestic Aggregated or CT with Residual |  | 0, 1, 2 | 0 | 0
LDNO 132kV: Non-Domestic Aggregated or CT No Residual |  | 0, 3, 4, 5-8 | 0 | 0
LDNO 132kV: Non-Domestic Aggregated or CT Band 1 |  | 0, 3, 4, 5-8 | 0 | 0
LDNO 132kV: Non-Domestic Aggregated or CT Band 2 |  | 0, 3, 4, 5-8 | 0 | 0
LDNO 132kV: Non-Domestic Aggregated or CT Band 3 |  | 0, 3, 4, 5-8 | 0 | 0
LDNO 132kV: Non-Domestic Aggregated or CT Band 4 |  | 0, 3, 4, 5-8 | 0 | 0
LDNO 132kV: LV Site Specific No Residual |  | 0 | 0 | 0
LDNO 132kV: LV Site Specific Band 1 |  | 0 | 0 | 0
LDNO 132kV: LV Site Specific Band 2 |  | 0 | 0 | 0
LDNO 132kV: LV Site Specific Band 3 |  | 0 | 0 | 0
LDNO 132kV: LV Site Specific Band 4 |  | 0 | 0 | 0
LDNO 132kV: LV Sub Site Specific No Residual |  | 0 | 0 | 0
LDNO 132kV: LV Sub Site Specific Band 1 |  | 0 | 0 | 0
LDNO 132kV: LV Sub Site Specific Band 2 |  | 0 | 0 | 0
LDNO 132kV: LV Sub Site Specific Band 3 |  | 0 | 0 | 0
LDNO 132kV: LV Sub Site Specific Band 4 |  | 0 | 0 | 0
LDNO 132kV: HV Site Specific No Residual |  | 0 | 0 | 0
LDNO 132kV: HV Site Specific Band 1 |  | 0 | 0 | 0
LDNO 132kV: HV Site Specific Band 2 |  | 0 | 0 | 0
LDNO 132kV: HV Site Specific Band 3 |  | 0 | 0 | 0
LDNO 132kV: HV Site Specific Band 4 |  | 0 | 0 | 0
LDNO 0000: Domestic Aggregated or CT with Residual |  | 0, 1, 2 | 0 | 0
LDNO 0000: Non-Domestic Aggregated or CT No Residual |  | 0, 3, 4, 5-8 | 0 | 0
LDNO 0000: Non-Domestic Aggregated or CT Band 1 |  | 0, 3, 4, 5-8 | 0 | 0
LDNO 0000: Non-Domestic Aggregated or CT Band 2 |  | 0, 3, 4, 5-8 | 0 | 0
LDNO 0000: Non-Domestic Aggregated or CT Band 3 |  | 0, 3, 4, 5-8 | 0 | 0
LDNO 0000: Non-Domestic Aggregated or CT Band 4 |  | 0, 3, 4, 5-8 | 0 | 0
LDNO 0000: LV Site Specific No Residual |  | 0 | 0 | 0
LDNO 0000: LV Site Specific Band 1 |  | 0 | 0 | 0
LDNO 0000: LV Site Specific Band 2 |  | 0 | 0 | 0
LDNO 0000: LV Site Specific Band 3 |  | 0 | 0 | 0
LDNO 0000: LV Site Specific Band 4 |  | 0 | 0 | 0
LDNO 0000: LV Sub Site Specific No Residual |  | 0 | 0 | 0
LDNO 0000: LV Sub Site Specific Band 1 |  | 0 | 0 | 0
LDNO 0000: LV Sub Site Specific Band 2 |  | 0 | 0 | 0
LDNO 0000: LV Sub Site Specific Band 3 |  | 0 | 0 | 0
LDNO 0000: LV Sub Site Specific Band 4 |  | 0 | 0 | 0
LDNO 0000: HV Site Specific No Residual |  | 0 | 0 | 0
LDNO 0000: HV Site Specific Band 1 |  | 0 | 0 | 0
LDNO 0000: HV Site Specific Band 2 |  | 0 | 0 | 0
LDNO 0000: HV Site Specific Band 3 |  | 0 | 0 | 0
LDNO 0000: HV Site Specific Band 4 |  | 0 | 0 | 0
*Supplier of Last Resort pass-through costs allocated to all domestic tariffs with a fixed charge (including LDNO)
**Eligible Bad Debt pass-through costs allocated to all metered demand tariffs (including LDNO)

## Nodal prices
Back to Overview
ESP Electricity Limited - GSP _F - Effective from 1 April 2026 - Final Nodal/Zonal charges
Node/Zone ID | Geographical name | Local charge 1 £/kVA | Remote charge 1 £/kVA

## SSC unit rate lookup
Back to Overview
Standard Settlement Configuration Id | Standard Settlement Configuration Desc | Common Decode | Change implemented | Date | Comments
3 | 10-hour OP | A/R | Notes updated | 2019-06-10 | Updated to reflect DCP 268 which delinks all tariffs from the TPR bands
4 | 10-hour OP | A/R | Code 1 & 2 changed to A | 2019-06-10 | Updated to reflect DCP 268 which delinks all tariffs from the TPR bands
5 | 10-hour OP + w/e | A/R | Code O changed to A/R | 2019-06-10 | Updated to reflect DCP 268 which delinks all tariffs from the TPR bands
6 | 10.5-hour OP | A/R | Removed TPR | 2019-06-10 | Removed TPR lookup element as this no longer effects which rate to apply
7 | 10.5-hour OP | A/R
8 | 10.5-hour OP | A/R
9 | 10.5-hour OP | A/R
10 | 10.5-hour OP | A/R
11 | 10.5-hour OP | A/R
12 | 10.5-hour OP | A/R
13 | 11 Hour OP | A/R
15 | 11 Hour OP | A/R
16 | 11.5-hour OP | A/R
17 | 11.5-hour OP | A/R
18 | 11.5-hour OP | A/R
19 | 11.5-hour OP | A/R
20 | 11.5-hour OP | A/R
21 | 11.5-hour OP | A/R
22 | 11.5-hour OP | A/R
23 | 11-hour OP | A/R
24 | 11-hour OP | A/R
25 | 11-hour OP | A/R
26 | 11-hour OP | A/R
28 | 11-hour OP | A/R
29 | 11-hour OP | A/R
30 | 11-hour OP | A/R
31 | 11-hour OP | A/R
32 | 11-hour OP | A/R
33 | 11-hour OP | A/R
34 | 11-hour OP | A/R
35 | 11-hour OP | A/R
36 | 11-hour OP | A/R
37 | 11-hour OP | A/R
38 | 11-hour OP | A/R
39 | 11-hour OP | A/R
40 | 11.5-hour OP | A/R
41 | 8.5-hour OP | A/R
42 | 9-hour OP | A/R
43 | 9-hour OP | A/R
44 | 8.5-hour OP | A/R
45 | 11-hour OP + Summer | A/R
46 | 11-hour OP + w/e | A/R
47 | 11-hour OP + w/e & Summer | A/R
48 | 11-hour OP + weekends | A/R
49 | 11.5-hour OP | A/R
50 | 12-hour OP + w/e & Summer | A/R
51 | 12-hour night | A
52 | 12-hour OP | A/R
53 | 12-hour OP | A/R
55 | 12-hour OP | A/R
56 | 12-hour OP | A/R
57 | 12-hour OP | A/R
58 | Key Meter pseudo 2-rate | A
59 | 12-hour OP | A/R
60 | 12-hour OP | A/R
62 | 8-hour OP (see also SSC 427) | A/R
63 | 9-hour OP | A/R
64 | 12-hour OP | A/R
65 | 12-hour OP + Summer | A/R
66 | 12-hour OP + Summer | A/R
67 | 12.5-hour OP | A/R
71 | 12.5-hour OP | A/R
72 | 12.5-hour OP | A/R
73 | 12.5-hour OP | A/R
74 | 12.5-hour OP + Summer | A/R
75 | 12.5-hour OP + w/e | A/R
76 | 12.5-hour OP + w/e | A/R
77 | 12.5-hour OP + w/e | A/R
78 | 12.5-hour OP + w/e & Summer | A/R
79 | 14-hour E7 | A
80 | 14-hour Off Peak | A/R
81 | 14-hour OP + Sun | A/R
82 | 14.5-hour OP | A/R
83 | 14.5-hour OP | A/R
84 | 14.5-hour OP | A/R
85 | 14.5-hour OP | A/R
86 | 14.5-hour OP | A/R
87 | 14.5-hour OP | A/R
88 | 14.5-hour OP | A/R
91 | 14.5-hour OP + Summer | A/R
92 | 14.5-hour OP + Summer | A/R
93 | split 7-hour E7 | A
94 | 14.5-hour OP + Summer | A/R
95 | 14.5-hour OP + Summer | A/R
96 | 14.5-hour OP + Summer | A/R
97 | 14.5-hour OP + w/e | A/R
98 | 14.5-hour OP + w/e & Summer | A/R
99 | 15-hour OP | A/R
100 | 15-hour OP | A/R
101 | 15-hour OP + w/e & Summer | A/R
102 | 15-hour OP + w/e & Summer | A/R
103 | 15-hour OP + w/e & Summer | A/R
104 | 15.5-hour OP | A/R
105 | 15.5-hour OP | A/R
106 | 15.5-hour OP | A/R
107 | 15.5-hour OP | A/R
108 | 15.5-hour OP | A/R
109 | 15.5-hour OP | A/R
110 | 15.5-hour OP | A/R
111 | 15.5-hour OP + Summer | A/R
112 | 15.5-hour OP + w/e | A/R
113 | 15.5-hour OP + w/e | A/R
115 | 15.5-hour OP + w/e | A/R
116 | 15.5-hour OP + w/e | A/R
117 | 15.5-hour OP + w/e | A/R
118 | 15.5-hour OP + w/e & Summer | A/R
119 | 15.5-hour OP + w/e & Summer | A/R
120 | 9-hour OP | A/R
121 | 2-rate terms | A
122 | 2-rate SToD | A
123 | 2-rate variable SToD | A
124 | 2-rate variable SToD | A
125 | 2-rate variable SToD | A
126 | 7-hour E7 | A
127 | 3-rate SToD | A
128 | Dom/Non-dom Seasonal (link SSC 0342) | A
129 | 3-rate SToD | A
130 | 3-rate variable | A
131 | 3-rate variable | A
132 | 4-rate SToD | A
133 | 4-rate SToD | A
134 | 4-rate SToD | A
135 | 4-rate SToD | A
136 | 4-rate SToD | A
137 | 4-rate SToD | A
138 | 4-rate SToD | A
140 | split 7-hour E7 | A
141 | 5-rate SToD | A
142 | 5-rate SToD | A
143 | 15-hour OP | A/R
144 | 6-rate SToD | A
145 | 6-rate SToD | A
146 | 6-rate SToD | A
147 | 6-rate SToD | A
148 | 7-hour OP (see also SSC 0185) | A/R
149 | Smart 7, heating | A
150 | 7-hour E7 | A
151 | 7-hour E7 | A
152 | 7-hour E7 | A
153 | 7-hour E7 | A
154 | 7-hour E7 | A
155 | split 7-hour E7 | A
156 | 7-hour E7 | A
157 | 7-hour E7 | A
158 | 7-hour E7 | A
159 | 12-hour OP | A/R
160 | 7-hour E7 | A
161 | 7-hour E7 | A
162 | 7-hour E7 | A
163 | 7-hour E7 | A
164 | 7-hour E7 | A
165 | 7-hour E7 | A
166 | 7-hour E7 | A
167 | 7-hour E7 | A
168 | 7-hour E7 | A
169 | 7-hour E7 | A
170 | 7-hour E7 | A
171 | 7-hour E7 | A
172 | 7-hour E7 | A
173 | 7-hour E7 | A
174 | 7-hour E7 | A
175 | 7-hour E7 | A
176 | 7-hour E7 | A
177 | 7-hour E7 | A
178 | 7-hour E7 (Cornwall & def reinforcement) | A
179 | 7-hour E7 | A
180 | 7-hour E7 | A
181 | 7-hour E7 | A
182 | 7-hour E7 | A
183 | 7-hour E7 | A
184 | 7-hour E7 | A
185 | 7-hour E7 | A
186 | 7-hour E7 | A
187 | 7-hour E7 | A
188 | 7-hour E7 | A
189 | 7-hour E7 | A
190 | 7-hour E7 | A
191 | 7-hour E7 | A
192 | 7-hour E7 | A
193 | 7-hour E7 | A
194 | 7-hour E7 | A
195 | 7-hour E7 | A
196 | 7-hour E7 | A
197 | 7-hour E7 | A
198 | 7-hour E7 | A
199 | 7-hour E7 | A
201 | 7-hour E7 | A
202 | 7-hour E7 | A
203 | 7-hour E7 | A
204 | 7-hour E7 | A
205 | 7-hour E7 | A
206 | 7-hour E7 | A
207 | 7-hour E7 | A
208 | 7-hour E7 | A
209 | 7-hour E7 | A
210 | 7-hour E7 | A
211 | 7-hour E7 | A
212 | 7-hour E7 | A
213 | 7-hour E7 | A
214 | 7-hour E7 | A
215 | 7-hour E7 | A
216 | 7-hour E7 | A
217 | 7-hour E7 | A
218 | 7-hour E7 | A
219 | 7-hour E7 | A
220 | 7-hour E7 | A
221 | 7-hour E7 | A
222 | 7-hour E7 | A
223 | 7-hour E7 | A
224 | 7-hour E7 | A
225 | 7-hour E7 | A
226 | 7-hour E7 | A
227 | 7-hour E7 | A
228 | Supertariff heating | A/R
229 | Supertariff heating | A/R
230 | 7-hour E7 | A/R
231 | split 7-hour E7 | A
233 | split 7-hour E7 | A
234 | split 7-hour E7 | A
235 | split 7-hour E7 | A
236 | split 7-hour E7 | A
237 | split 7-hour E7 | A
238 | 7-hour E7 | A
241 | 7-hour E7 (differential switching) | A
242 | 7-hour night | A
243 | Key Meter pseudo 2-rate | A
244 | 7-hour E7 | A
245 | 7-hour night | A
246 | Economy 7 Day & Night | A
247 | 7-hour night | A
248 | 7-hour E7 | A
249 | 7-hour night | A
250 | 7-hour OP | A/R
251 | 7-hour OP | A/R
252 | 7-hour OP | A/R
253 | 7-hour OP | A/R
254 | 7-hour variable E7 (Menter B) | A
255 | 7-hour variable E7 (Menter A) | A
257 | 8-hour E7 | A
258 | 8-hour night | A
259 | 10-hour night | A
260 | 8-hour night | A
261 | 8-hour night | A
262 | 8-hour night | A
263 | 8-hour night | A
264 | 8-hour night | A
265 | 8-hour OP | A/R
266 | 8-hour OP | A/R
267 | 8-hour OP | A/R
268 | 8-hour OP | A/R
269 | 8-hour OP | A/R
270 | 8-hour OP | A/R
271 | 8-hour OP | A/R
272 | 8-hour OP | A/R
273 | 8-hour OP | A/R
274 | 8-hour OP | A/R
276 | 8-hour OP | A/R
277 | 8-hour OP + Summer | A/R
278 | 8-hour OP + w/e | A/R
279 | 8-hour OP + w/e & Summer | A/R
280 | 8-hour OP + weekends | A/R
281 | 9-hour night | A
283 | 9-hour night (differential switching) | A
284 | 9-hour OP | A/R
285 | 9-hour OP | A/R
286 | 9-hour OP + w/e | A/R
287 | Boiler | A/R
288 | Budget Warmth | A/R
289 | Budget Warmth | A/R
290 | Budget Warmth | A/R
291 | Budget Warmth | A/R
292 | Budget Warmth | A/R
297 | Budget Warmth | A/R
298 | Budget Warmth | A/R
299 | Budget Warmth | A/R
300 | Flexiheat Day/Evening/Weekend | A
301 | Flexiheat (weather) Day/Evening/Weekend | A
302 | Superdeal Day/Night | A
303 | Budget Warmth | A/R
304 | Budget Warmth | A/R
305 | Domestic heating tariff | A
306 | Domestic heating tariff | A
307 | Domestic heating tariff | A
308 | Domestic heating tariff | A
309 | Superdeal (weather) Day/Night | A
310 | E10 type 1 (general purpose) | A
312 | 7-hour OP (see also SSC 186) | A/R
313 | Domestic E9 A | A/R
314 | 13-hour OP | A/R
315 | Evening/night | A/R
316 | Evening/Weekend | A
317 | Evening/Weekend | A
318 | Evening/Weekend | A
319 | 12-hour Evening/Weekend | A
320 | Evening/Weekend | A
321 | Evening/Weekend | A
322 | Evening/Weekend | A
323 | Evening/Weekend | A
324 | Domestic E9 B | A
325 | Evening/Weekend E7 | A
326 | Evening/Weekend E7 | A
327 | Evening/Weekend E7 | A
328 | Evening/Weekend E7 | A
329 | Evening/Weekend E7 | A
330 | Evening/Weekend E7 | A
331 | Evening/Weekend E7 | A
332 | Evening/Weekend E7 | A
334 | 3-rate heating, (link SSC 0343) | A
335 | Grain Drying | A
336 | Grain drying | A/R
337 | Grain drying | A/R
338 | Heating | A
339 | Local Authority Heating | A/R
340 | Local Authority Heating | A/R
341 | Local Authority Heating | A/R
342 | Dom & Non-dom Seasonal (link SSC 0128) | A/R
343 | 3-rate heating, water heating | A/R
344 | 7-hour E7, Day + Night (link SSC 0345) | A
345 | 7-hour E7, Day + Night (link SSC 0344) | A/R
346 | Non-Standard OP (8+3 hour) | A/R
347 | Non-Standard OP | A/R
348 | Non-Standard OP | A/R
349 | 7-hour E7 | A
350 | Warmwise heating | A/R
351 | Flexiheat heating | A
352 | Flexiheat (weather) heating | A
353 | Superdeal heating | A
354 | 12-hour OP | A/R
355 | Smart 7, Day/Night | A
357 | split 10-hour Heatwise | A/R
358 | split 10-hour Heatwise | A/R
359 | split 10-hour Heatwise | A/R
360 | split 10-hour Heatwise | A/R
361 | split 10-hour Heatwise | A/R
362 | split 10-hour Heatwise | A/R
363 | split 10-hour Heatwise | A/R
364 | split 10-hour Heatwise | A/R
365 | split 10-hour Heatwise | A/R
366 | split 10-hour Heatwise | A/R
367 | split 10-hour Heatwise | A/R
368 | split 10-hour Heatwise | A/R
369 | split 10-hour Heatwise | A/R
370 | split 10-hour Heatwise | A/R
371 | split 10-hour Heatwise | A/R
372 | Evening/Weekend | A
373 | split 7-hour E7 | A
374 | split 7-hour E7 | A
375 | split 7-hour E7 | A
376 | split 7-hour E7 | A
377 | split 7-hour E7 | A
378 | split 7-hour E7 | A
380 | split 7-hour E7 | A
381 | split 7-hour E7 | A
382 | split 7-hour E7 | A
384 | 7-hour E7 | A
385 | split 7-hour E7 | A
386 | 9-hour OP | A/R
387 | 15.5-hour OP | A/R
388 | split 7-hour E7 | A
389 | 12.5-hour OP | A/R
390 | split 7-hour E7 | A
391 | Summer & Winter w/e | A/R
392 | Summer Unrestricted | A
393 | Unrestricted | A
394 | 10-hour night | A
395 | Warmwise Day/Night | A
396 | 2-rate SToD | A
397 | 9-hour heating | A
398 | 12-hour OP + w/e | A
399 | 15-hour OP + w/e | A/R
400 | 8-hour night | A
401 | E10 type 1(heating circuit) | A/R
403 | 12-hour night | A
404 | Redring Boiler (general purpose) | A
405 | Redring Boiler (heating circuit) | A/R
406 | Cyclocontrol 3 | A/R
407 | Cyclocontrol 4 | A/R
408 | Cyclocontrol 5 | A/R
409 | Cyclocontrol 6 | A/R
410 | Cyclocontrol 7 | A/R
411 | Cyclocontrol 8 | A/R
412 | Cyclocontrol 9 | A/R
413 | Cyclocontrol 10 | A/R
414 | Cyclocontrol 11 | A/R
415 | Cyclocontrol 12 | A/R
416 | Cyclocontrol 13 | A/R
417 | Cyclocontrol 14 | A/R
418 | Cyclocontrol 15 | A/R
419 | Cyclocontrol 16 | A/R
420 | Cyclocontrol 17 | A/R
421 | Cyclocontrol 18 | A/R
422 | Cyclocontrol 19 | A/R
423 | Cyclocontrol 20 | A/R
424 | Cyclocontrol 21 | A/R
425 | Superdeal (weather) heating | A
426 | 7-hour E7 | A
427 | Day/Night (White meter) | A
428 | Unmetered Type A ("flat" profile) | U
429 | Unmetered B ("dusk-to-dawn") | U
430 | Unmetered C ("half-night & pre-dawn") | U
431 | Unmetered D ("dawn-to-dusk") | U
432 | 7-hour E7 | A
434 | 12 Hour OP | A/R
435 | Domestic 3-rate heating | A
436 | 3-Rate Seasonal | A
437 | Lifestyle Tariff | A
439 | Split 7-hour E7 | A
440 | 3-rate ToW | A
441 | 4-rate SToD | A
442 | 7-hour E7 | A
443 | Evening/Weekend | A
444 | Evening/Weekend E7 | A
444 | Evening/Weekend E7 | A
445 | 7-hour variable E7 | A
446 | 7-hour variable E7 | A
447 | 7-hour OP | A
448 | 7-hour OP | A
449 | 7-hour OP | A
450 | 7-hour OP | A
451 | 7-hour OP | A
452 | 7-hour OP | A
453 | 7-hour OP | A
454 | 7-hour OP | A
455 | 7-hour OP | A
456 | 7-hour OP | A
459 | 7-hour OP | A
460 | 12 Hours OP | A/R
461 | 12 Hours OP | A/R
462 | 8 Hours OP | A/R
463 | 10.5 Hours OP | A/R
464 | Weekender Tariff (V1) | A
465 | Weekender Tariff (V2) | A
466 | Maximum Demand Register | A
467 | Maximum Demand Register | A
468 | Maximum Demand Register | A
469 | Maximum Demand Register | A
470 | Maximum Demand Register | A
473 | Economy 7 - all purpose tariff G63 | A
474 | split 7hr o/p | A/R
475 | Split 7hr E7 | A
476 | 14.5 hr o/p | A/R
477 | 14.5 hr o/p | A/R
478 | Evening/Weekend E7 | A
479 | Split 7-hour E7 | A
480 | Split 7-hour E7 | A
481 | Split 7-hour E7 | A
482 | Micro-PV Export Import Profile Class 1 | G
483 | Micro-PV Export Import Profile Class 2 | G
484 | Micro-PV Export Import Profile Class 3 | G
485 | Micro-PV Export Import Profile Class 4 | G
486 | Micro-PV Export Import Profile Class 5 | G
487 | Micro-PV Export Import Profile Class 6 | G
488 | Micro-PV Export Import Profile Class 7 | G
489 | Micro-PV Export Import Profile Class 8 | G
490 | Micro-CHP Export Import Profile Class 1 | G
491 | Micro-CHP Export Import Profile Class 2 | G
492 | Micro-CHP Export Import Profile Class 3 | G
493 | Micro-CHP Export Import Profile Class 4 | G
494 | Micro-CHP Export Import Profile Class 5 | G
495 | Micro-CHP Export Import Profile Class 6 | G
496 | Micro-CHP Export Import Profile Class 7 | G
497 | Micro-CHP Export Import Profile Class 8 | G
498 | Other Sml Export SSC any import Profile | G
701 | 8.5-hour OP + w/e | A/R
702 | 8.5-hour OP + w/e | A/R
703 | 12-hour OP + w/e | A/R
704 | 12-hour OP + w/e | A/R
705 | 12-hour OP + w/e | A/R
706 | 12-hour OP + w/e | A/R
707 | 12-hour OP + w/e | A/R
708 | 12-hour OP + w/e | A/R
709 | 12-hour OP + w/e | A/R
710 | 12-hour OP + w/e | A/R
711 | 12-hour OP + w/e | A/R
712 | 16-hour OP + w/e | A/R
713 | 16-hour OP + w/e | A/R
714 | 16-hour OP + w/e | A/R
715 | 16-hour OP + w/e | A/R
716 | 20-hour OP + w/e | A/R
717 | 20-hour OP + w/e | A/R
718 | 20-hour OP + w/e + summer | A/R
719 | 20-hour OP + w/e + summer | A/R
720 | 3-rate SToD | A
721 | 8.5 hour WM | A
722 | 8.5 hour WM | A
723 | 8.5 hour WM | A
724 | 8.5 hour WM | A
725 | 8.5 hour WM | A
726 | 8.5 hour WM | A
727 | 8.5 hour WM | A
728 | 8.5 hour WM Heating | A
729 | 8.5 hour WM | A
730 | 8.5 hour WM Heating | A
731 | 8.5 hour WM | A
732 | 8.5 hour WM Heating | A
733 | 8.5 hour WM | A
734 | 8.5 hour WM Heating | A
735 | 8.5 hour WM | A
736 | 8.5 hour WM Heating | A
737 | 8.5 hour WM | A
738 | 8.5 hour WM Heating | A
739 | 8.5 hour WM | A
740 | 8.5 hour WM Heating | A
741 | 8.5 hour WM | A
742 | 8.5 hour WM Heating | A
743 | 8.5 hour WM | A
744 | 8.5 hour WM Heating | A
745 | 8.5 hour WM | A
746 | 8.5 hour WM Heating | A
747 | 8.5 hour WM | A
748 | 8.5 hour WM | A
749 | 8.5 hour WM Heating | A
752 | 8.5 hour WM | A
753 | Weathercall heating | A
754 | 8.5 hour WM | A
755 | Weathercall heating | A
756 | 8.5 hour WM | A
757 | Weathercall heating | A
758 | 8.5 hour WM | A
759 | Weathercall heating | A
760 | 8.5 hour WM | A
761 | Weathercall heating | A
762 | 8.5 hour WM | A
763 | Weathercall heating | A
764 | 8.5 hour WM | A
765 | Weathercall heating | A
766 | 8.5 hour WM | A
767 | Weathercall heating | A
768 | 8.5 hour WM | A
769 | Weathercall heating | A
770 | 18-hour dynamic | A
775 | Crop&Air Conditioning | A/R
776 | Crop&Air Conditioning | A/R
781 | 8.5 hour WM | A/R
782 | 8.5 hour WM | A
783 | 8.5 hour WM | A
784 | 8.5 hour WM | A
785 | 8.5 hour WM | A
786 | 8.5 hour WM | A
787 | E7 accompanying Birmingam W'call | A
788 | Birmingham Weathercall | A
789 | E7 accompanying Manchester W'call | A
790 | Manchester Weathercall | A
791 | E7 accompanying Anglesey W'call | A
792 | Anglesey Weathercall | A
793 | 8.5 hour WM | A
794 | 8.5 hour WM Heating | A
801 | Unrestricted | A
802 | Two rate with 8 hours night | A
803 | Dynamic | A/R
804 | Two rate with 8 hours night | A
805 | Dynamic | A/R
806 | Two rate with 8 hours night | A
807 | Dynamic | A/R
808 | Two rate with 8 hours night | A
809 | Dynamic | A/R
810 | Two rate with 8 hours night | A
811 | Dynamic | A/R
812 | Two rate with 8 hours night | A
813 | Dynamic | A/R
814 | Two rate with 8 hours night | A
815 | Dynamic | A/R
816 | Two rate with 8 hours night | A
817 | Dynamic | A/R
818 | Two rate with 8 hours night | A
819 | Dynamic | A/R
820 | Two rate with 8 hours night | A
821 | Dynamic | A/R
822 | Two rate with 8 hours night | A
823 | Dynamic | A/R
824 | Two rate with 8 hours night | A
825 | Dynamic | A/R
826 | Two rate with 8 hours night | A
827 | Dynamic | A/R
828 | Two rate with 8 hours night | A
829 | Dynamic | A/R
830 | Two rate with 8 hours night | A
831 | Dynamic | A/R
832 | Two rate with 8 hours night | A
833 | Dynamic | A/R
834 | Two rate with 8 hours night | A
835 | Dynamic | A/R
836 | Two rate with 8 hours night | A
837 | Dynamic | A/R
838 | Two rate with 8 hours night | A
839 | Dynamic | A/R
840 | Two rate with 8 hours night | A
841 | Dynamic | A/R
842 | Two rate with 8 hours night | A
843 | Dynamic | A/R
844 | Two rate with 8 hours night | A
845 | Dynamic | A/R
846 | Two rate with 8 hours night | A
847 | Dynamic | A/R
848 | Two rate with 8 hours night | A
849 | Dynamic | A/R
850 | Dynamic | A/R
851 | Dynamic | A/R
852 | Two rate with 8 hours night | A
853 | Two rate with 8 hours night | A
854 | Two rate with 8 hours night | A
855 | Two rate with 8 hours night | A
856 | Two rate with 8 hours night | A
857 | Two rate with 8 hours night | A
858 | Two rate with 8 hours night | A
859 | Two rate with 8 hours night | A
860 | Two rate with 8 hours night | A
861 | Two rate with 8 hours night | A
862 | Two rate with 8 hours night | A
863 | Two rate with 8 hours night | A
864 | Two rate with 8 hours night | A
865 | Two rate with 8 hours night | A
866 | Dynamic | A/R
867 | Two rate with 8 hours night | A
868 | Dynamic | A/R
869 | Two rate with 8 hours night | A
870 | Dynamic | A/R
871 | Two rate with 8 hours night | A
872 | Dynamic | A/R
873 | Two rate with 8 hours night | A
874 | Dynamic | A/R
875 | Two rate with 8 hours night | A
876 | Dynamic | A/R
877 | Two rate with 8 hours night | A
878 | Dynamic | A/R
879 | Two rate with 8 hours night | A
880 | Dynamic | A/R
881 | Two rate with 8 hours night | A
882 | Dynamic | A/R
883 | Two rate with 8 hours night | A
884 | Dynamic | A/R
885 | Two rate with 8 hours night | A
886 | Dynamic | A/R
887 | Two rate with 8 hours night | A
888 | Dynamic | A/R
889 | Two rate with 8 hours night | A
890 | Dynamic | A/R
891 | Dynamic | A/R
892 | Dynamic | A/R
893 | Dynamic | A/R
894 | 8 Hours OP | A/R
895 | 8 Hours OP | A/R
896 | 8 Hours OP | A/R
897 | Dynamic | A/R
898 | Dynamic | A/R
899 | 11 Hours OP | A/R
900 | 11 Hours OP | A/R
901 | 11 Hours OP | A/R
902 | 11 Hours OP | A/R
903 | 11 Hours OP | A/R
904 | 8 Hours OP + Weekends | A/R
905 | 8 Hours OP + Weekends | A/R
906 | 8 Hours OP + Weekends | A/R
907 | 15 Hours OP + Weekends | A/R
908 | 15 Hours OP + Weekends | A/R
909 | 15 Hours OP + Weekends | A/R
910 | 15 Hours OP + Weekends | A/R
911 | 15 Hours OP + Weekends | A/R
912 | 15 Hours OP + Weekends | A/R
913 | 15 Hours OP + Weekends | A/R
914 | 15 Hours Nov - April/24 Hours May - Oct | A
915 | 8 Hours OP | A
916 | 8 Hours OP | A
917 | 8 Hours OP | A
918 | Evening/Weekend | A
919 | 2 rate | A
920 | 2 rate | A
922 | Unrestricted | A
923 | Unrestricted | A
924 | Unrestricted | A
925 | Unmetered Type A ("flat " profile) | U
926 | Unmetered B ("dusk-to-dawn") | U
927 | Unmetered D ("dawn-to-dusk") | U
928 | Unmetered C ("half-night & pre-dawn") | U
929 | 11 Hours OP | A/R
930 | 11 Hours OP | A/R
931 | 11 Hours OP | A/R
932 | Seasonal ToD | A
933 | Two rate with 8 hours night | A
934 | Dynamic | A/R
935 | Split 10 hr E10 | A
936 | Split 10 hr E10 | A
937 | Split 10 hr E10 | A
938 | Split 10 hr E10 | A
939 | Split 10 hr E10 | A
940 | NHH Export Hydro Profile Class | G
941 | NHH Export Wind Profile Class | G
942 | 7-hour E7 (Cornwall & def reinforcement) | A
943 | 7-hour E7 | A
944 | 7-hour E7 | A
945 | 7-hour E7 | A
946 | 7-hour E7 | A
947 | Smart Meter 3 Rate Time of Day | A
948 | 10 hour Evening/Weekend | A
949 | General Purpose 2 Rate (paired wth 0950) | A
950 | E10 Heating Single Rate (prd wth 0949) | A/R
951 | E9 Heating | A/R
952 | General Purpose 2 Rate (paired wth 0951) | A
953 | Two rate with 20 hours night | A
954 | Three Rate Peak Day Other | A
955 | 4 rate weekday/2 rate weekend | A
956 | 4 Rate Weekday/2 rate Weekend (BST) | A
957 | Unrestricted with Weekday Peak | A
958 | Unrestricted with Peak | A
959 | Economy 7 with Weekday Peak | A
960 | Economy 7 with Peak | A
961 | Evening Weekend and Weekday Peak (smart) | A
962 | Evening Weekend with Peak | A
963 | Evening Weekend Night and Peak | A
964 | Evening Weekend with Night (BST) | A
965 | 3 Rate with Weekday Peak | A
966 | 8-hour OP | A/R
967 | Superdeal Day/Night | A
968 | Superdeal Day/Night | A
969 | 3 Rate with Weekday Peak | A
970 | split 7-hour E7 | A
971 | Smart meter trial - time of use 3 rate | A
972 | 2 Rate Saturday Off Peak | A
973 | Flexiheat Day/Evening/Weekend | A
974 | Flexiheat heating | A
975 | Saturday Off Peak (9-5) | A
976 | Sunday Off Peak (9-5) | A
978 | 7-hour OP | A/R
979 | Non-Standard OP (8+3 hour) | A/R
980 | General Purpose 2 Rate (paired with 0980 | A
981 | E10 Heating Single Rate (prd with 0981) | A/R
982 | Evening Saver | A
983 | Comfort Booster | A
984 | Saturday Off Peak (24 Hrs) | A
985 | Sunday Off Peak (24 Hrs) | A
989 | Redring Boiler (general purpose) | A
990 | Redring Boiler (heating circuit) | A/R
991 | 8-hour OP | A/R
996 | Lifestyle Tariff | A
997 | Evening/Weekend - BST | A
Notes:
There are a few governing rules that should be applied:
Specific notes for application of or tariffss:
  All tariffs are all delinked and set time bands are applied in place of the TPR’s timebands.
The following rules apply when allocating tariffs in DNO areas.
  1, G and U should be applied straight to the appropriate SSC to identify generation and UMS tariffs.
  Then considering the SSC alongside the PC.
  2, PC1s should be labelled Domestic Aggregated.
  3, PC2s with SSCs with A/R should be labelled Domestic Aggregated (related MPAN).
  4, Remaining PC2s should be labelled Domestic Aggregated.
  5, PC3s should be labelled Non Domestic Aggregated.
  6, PC4s with SSCs with A/R should be labelled Non Domestic Aggregated (related MPAN).
  7, Remaining PC4s should be labelled Non Domestic Aggregated.
  8, PC5 – 8s should be labelled Non Domestic Aggregated.
Common decode:
  A: Aggregated - replaces the Day & Night rates (1 & 2)
  A/R: Aggregated if on PC1 / PC3 / PC5 / PC6 / PC7 / PC8 or Aggregated (related MPAN) if on PC2 / PC4
  G: Generation
  U: Unmetered Supplies

## Residual Charging Bands
Back to Overview
ESP Electricity Limited - GSP _F - Effective from 2026/27 - Final Residual Charging Bands
Voltage of Connection | Band | Units | Lower Threshold* | Upper Threshold* | Residual Charge per MPAN (£) per year
Domestic Aggregated | Single band | - | - | - | 7.1133
Designated Properties connected at LV, billing with no MIC | 1 | kWh | 0 | 3986 | 7.3822
| 2 | kWh | 3987 | 13677 | 20.0742
| 3 | kWh | 13678 | 27543 | 43.1793
| 4 | kWh | 27544 | ∞ | 116.3249
Designated Properties connected at LV, billing with MIC | 1 | kVA | 0 | 90 | 193.9917
| 2 | kVA | 91 | 150 | 418.4633
| 3 | kVA | 151 | 250 | 655.1434
| 4 | kVA | 251 | ∞ | 1706.7878
Designated Properties connected at HV | 1 | kVA | 0 | 500 | 1332.3733
| 2 | kVA | 501 | 1100 | 3649.0637
| 3 | kVA | 1101 | 2000 | 6521.6852
| 4 | kVA | 2001 | ∞ | 17759.3128
Designated EHV Properties | 1 | kVA | 0 | 3500 | 9822.5263
| 2 | kVA | 3501 | 11000 | 19452.8009
| 3 | kVA | 11001 | 20000 | 70840.0157
| 4 | kVA | 20001 | ∞ | 262737.8399
* All boundaries are inclusive of the upper threshold and exclusive of the lower threshold i.e. Lower < x ≤ Upper.

## TNUoS Mapping
Back to Overview
ESP Electricity Limited - GSP _F - Effective from 2026/27 - TNUoS Mapping
DUoS Tariff name | TNUoS Site Charging Band
Domestic Aggregated or CT with Residual | Domestic
Domestic Aggregated (Related MPAN) | n/a (Non-Final Demand Site)
Non-Domestic Aggregated or CT No Residual | n/a (Non-Final Demand Site)
Non-Domestic Aggregated or CT Band 1 | LV_NoMIC_1
Non-Domestic Aggregated or CT Band 2 | LV_NoMIC_2
Non-Domestic Aggregated or CT Band 3 | LV_NoMIC_3
Non-Domestic Aggregated or CT Band 4 | LV_NoMIC_4
Non-Domestic Aggregated (related MPAN) | n/a (Non-Final Demand Site)
LV Site Specific No Residual | n/a (Non-Final Demand Site)
LV Site Specific Band 1 | LV1
LV Site Specific Band 2 | LV2
LV Site Specific Band 3 | LV3
LV Site Specific Band 4 | LV4
LV Sub Site Specific No Residual | n/a (Non-Final Demand Site)
LV Sub Site Specific Band 1 | LV1
LV Sub Site Specific Band 2 | LV2
LV Sub Site Specific Band 3 | LV3
LV Sub Site Specific Band 4 | LV4
HV Site Specific No Residual | n/a (Non-Final Demand Site)
HV Site Specific Band 1 | HV1
HV Site Specific Band 2 | HV2
HV Site Specific Band 3 | HV3
HV Site Specific Band 4 | HV4
Unmetered Supplies | n/a (p/kWh charge)
LV Generation Aggregated | n/a (Non-Final Demand Site)
LV Sub Generation Aggregated | n/a (Non-Final Demand Site)
LV Generation Site Specific | n/a (Non-Final Demand Site)
LV Generation Site Specific no RP charge | n/a (Non-Final Demand Site)
LV Sub Generation Site Specific | n/a (Non-Final Demand Site)
LV Sub Generation Site Specific no RP charge | n/a (Non-Final Demand Site)
HV Generation Site Specific | n/a (Non-Final Demand Site)
HV Generation Site Specific no RP charge | n/a (Non-Final Demand Site)
Designated EHV Site Specific No Residual | n/a (Non-Final Demand Site)
Designated EHV Site Specific Band 1 | EHV1
Designated EHV Site Specific Band 2 | EHV2
Designated EHV Site Specific Band 3 | EHV3
Designated EHV Site Specific Band 4 | EHV4

## Charge Calculator
Back to Overview
ESP Electricity Limited - GSP _F - Effective from 1 April 2026 - Final
LV and HV designated properties and Unmetered Supplies tariff calculator | [7 empty] | EHV designated property calculator
Step 1, Choose your tariff using the drop down list in cell B10 | [7 empty] | Step 1, Choose your tariff using the drop down list in cell L10
Step 2, After selecting a tariff in step 1, Cells C12-I12 will generate headings, please enter your consumption in cells C13:I13 underneath each heading generated (if no heading leave cell blank) | [7 empty] | Step 2, After selecting a tariff in step 1, Cells M12-T12 will generate headings, please enter your consumption in cells M13:T13 underneath each heading generated (if no heading leave cell blank)
Step 3, Enter a forecast of consumption if required in cells C14:I14 | [7 empty] | Step 3, Enter a forecast of consumption if required in cells M14:T14
Tariff details Choose tariff name from drop down box below | Red/black unit charge p/kWh | Amber/yellow unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Exceeded capacity charge p/kVA/day | Reactive power charge p/kVArh | Site details Choose the site name from the drop down box below | Import Super Red unit charge (p/kWh) | Import fixed charge (p/day) | Import capacity charge (p/kVA/day) | Import exceeded capacity charge (p/kVA/day) | Export Super Red unit charge (p/kWh) | Export fixed charge (p/day) | Export capacity charge (p/kVA/day) | Export exceeded capacity charge (p/kVA/day)
Tariff components | Red/black unit charge p/kWh | Amber/yellow unit charge p/kWh | Green unit charge p/kWh | Number of days in consumption period i.e. 365 if one year | Maximum import or export capacity kVA | Average daily exceeded capacity kVA | Excess reactive units kVArh | Tariff components | Import super red kWh | Number of days in consumption period i.e. 365 if one year | Maximum import capacity kVA | Average daily exceeded capacity kVA | Export Super Red kWh | Number of days in consumption period i.e. 365 if one year | Maximum export capacity kVA | Average daily exceeded capacity kVA
Enter current consumption details | [7 empty] | Enter current consumption details | [5 empty] | 0
Enter forecast consumption details (if different) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Enter forecast consumption details (if different) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Charge components | Unit 1 £ | Unit 2 £ | Unit 3 £ | Fixed charge £ | Capacity charge £ | Exceeded capacity charge £ | Reactive power charge £ | Charge components | Import super red charge £ | Import fixed charge £ | Import capacity charge £ | Import exceeded capacity charge £ | Export super red charge £ | Export fixed charge £ | Export capacity charge £ | Export exceeded capacity charge £
Current consumption period charges | [7 empty] | Current consumption period charges
Forecast consumption period charges | [7 empty] | Forecast consumption period charges
| Total charge £ | [7 empty] | Import total charge £ | Export total charge £
Current consumption period charges | 0 | [6 empty] | Current consumption period charges | 0 | 0
Forecast consumption period charges | 0 | [6 empty] | Forecast consumption period charges | 0 | 0
These charges are estimates based on tariff selected and consumption values entered. | [7 empty] | These charges are estimates based on site selected and consumption values entered.
Note:
For the purpose of forecasting the exceeded capacity charge, the input in this calculator uses the average daily exceeded capacity as this reduces the calculators complexity, however as per the Use of System Charging Statement, the exceeded portion of the capacity will be charged at the exceeded capacity charge p/kVA/day rate, based on the difference between the MIC/MEC and the actual capacity used. This will be charged for the full duration of the month in which the breach occurs.”